## Sheet1
standard_id | title | short_citation | region | applies_to | notes
ISO_13485 | Medical devices — Quality management systems — Requirements for regulatory purposes | ISO 13485:2016 | Global | All;Management;Production;Servicing | The core international QMS standard for medical devices.
21_CFR_820 | Quality Management System Regulation (QMSR) | 21 CFR Part 820 | US | All;Management;Production;HCT/Ps | FDA mandatory regulation; harmonized with ISO 13485:2016 as of 2024.
ISO_14971 | Medical devices — Application of risk management to medical devices | ISO 14971:2019 | Global | All;Design;Production;Software | Defines the framework for identifying hazards and controlling risks.
ISO_TR_24971 | Medical devices — Guidance on the application of ISO 14971 | ISO/TR 24971:2020 | Global | Management;Quality Engineering | Technical report providing practical examples for risk implementation.
IEC_62304 | Medical device software — Software life cycle processes | IEC 62304:2006/A1:2015 | Global | Software;Active Implants;IVD | Essential for any device containing software or standalone SaMD.
IEC_62366-1 | Medical devices — Part 1: Application of usability engineering to medical devices | IEC 62366-1:2015 | Global | Design;Software;Active Implants | Focuses on minimizing user errors through interface design.
21_CFR_11 | Electronic Records; Electronic Signatures | 21 CFR Part 11 | US | Software;Lab;IT Systems;MES | Requirements for making electronic records as trustworthy as paper.
21_CFR_830 | Unique Device Identification | 21 CFR Part 830 | US | Labeling;Packaging;Distribution | Mandates the UDI system for device traceability in the US.
ISO_15223-1 | Medical devices — Symbols to be used with medical device labels, labelling and information to be supplied | ISO 15223-1:2021 | Global | Labeling;Packaging | Standardized symbols for sterile, expiry, and manufacturer info.
ISO_20417 | Medical devices — Information supplied by the manufacturer | ISO 20417:2021 | Global | Labeling;Servicing;IFU | General requirements for the content of IFUs and labels.
GAMP_5 | A Risk-Based Approach to Compliant GxP Computerized Systems | GAMP 5 Rev 2 | Global | Software;Automation;IT Systems | Industry framework for validating automated production/lab systems.
USP_1058 | Analytical Instrument Qualification | USP <1058> | US | Lab;Analytical Instruments | Provides the A/B/C grouping for lab equipment qualification.
ISO_16142-1 | Medical devices — Recognized essential principles of safety and performance — Part 1: General medical devices | ISO 16142-1:2016 | Global | Design;Risk Management | Foundational requirements for non-IVD medical devices.
ISO_16142-2 | Medical devices — Recognized essential principles of safety and performance — Part 2: IVD medical devices | ISO 16142-2:2017 | Global | IVD Production;Reagents | Foundational requirements specific to In-Vitro Diagnostics.
IEC_80001-1 | Application of risk management for IT-networks incorporating medical devices | IEC 80001-1:2021 | Global | IT Systems;Hospitals | Manages risk when devices are connected to hospital networks.
IEC_TR_80002-1 | Medical device software — Part 1: Guidance on the application of ISO 14971 to medical device software | IEC/TR 80002-1:2009 | Global | Software;Risk Management | Specifically maps software failure modes to clinical risks.
IEC_TR_80002-2 | Medical device software — Part 2: Validation of software for medical device quality systems | IEC/TR 80002-2:2017 | Global | Software;Quality Systems | Guidance for validating QMS software like eQMS or LIMS.
IEC_TR_80002-3 | Medical device software — Part 3: Process reference model of medical device software life cycle processes | IEC/TR 80002-3:2014 | Global | Software;Production | Process assessment model for IEC 62304 compliance.
ISO_19001 | In vitro diagnostic medical devices — Information supplied with reagents for staining in biology | ISO 19001:2013 | Global | IVD Production;Histology | Labeling requirements for biological stains and reagents.
ISO_18113-1 | In vitro diagnostic medical devices — Information supplied by the manufacturer (labelling) — Part 1: Terms, definitions and general requirements | ISO 18113-1:2009 | Global | IVD Production;Labeling | Core labeling standard for the IVD reagent industry.
ISO_11135 | Sterilization of health-care products — Ethylene oxide — Requirements for validation and routine control | ISO 11135:2014 | Global | Sterilization;EtO Chambers;Vascular;Orthopedic | Primary standard for gaseous EtO sterilization validation.
ISO_11137-1 | Sterilization of health care products — Radiation — Part 1: Requirements for validation and routine control | ISO 11137-1:2006 | Global | Sterilization;Gamma Irradiators;E-Beam;Orthopedic | Core requirements for radiation-based terminal sterilization.
ISO_11607-1 | Packaging for terminally sterilized medical devices — Part 1: Requirements for materials and sterile barrier systems | ISO 11607-1:2019 | Global | Packaging;Sterile Barrier;Pouches;Trays | Material selection and design for maintaining device sterility.
ISO_11607-2 | Packaging for terminally sterilized medical devices — Part 2: Validation requirements for forming and sealing | ISO 11607-2:2019 | Global | Packaging;Heat Sealers;F/F/S Machines;Assembly | Crucial for OQ/PQ of sealing equipment like pouch and tray sealers.
ISO_10993-1 | Biological evaluation of medical devices — Part 1: Evaluation and testing within a risk management process | ISO 10993-1:2018 | Global | All;Biocompatibility;Design;HCT/Ps | Framework for biological safety assessments based on patient contact.
ISO_10993-4 | Biological evaluation of medical devices — Part 4: Selection of tests for interactions with blood | ISO 10993-4:2017 | Global | Biocompatibility;Cardiovascular;Catheters;Implants | Specifically for blood-contacting interventional cardiology devices.
ISO_10993-5 | Biological evaluation of medical devices — Part 5: Tests for in vitro cytotoxicity | ISO 10993-5:2009 | Global | Biocompatibility;All;Laboratory;Implantable | Essential screening test for all patient-contact devices.
ISO_10993-7 | Biological evaluation of medical devices — Part 7: Ethylene oxide sterilization residuals | ISO 10993-7:2008 | Global | Sterilization;EtO;Biocompatibility;Laboratory | Limits for EO and ECH levels on devices after gas sterilization.
ISO_11737-1 | Sterilization of health care products — Microbiological methods — Part 1: Bioburden enumeration | ISO 11737-1:2018 | Global | Sterilization;Bioburden Testing;Laboratory;Cleanrooms | Procedures for microbial counting to support sterilization cycles.
ISO_11737-2 | Sterilization of health care products — Microbiological methods — Part 2: Tests of sterility | ISO 11737-2:2019 | Global | Sterilization;Sterility Testing;Laboratory;Cleanrooms | Mandatory for validating sterility as an outcome of a process.
ISO_15883-1 | Washer-disinfectors — Part 1: General requirements, terms and definitions and tests | ISO 15883-1:2006 | Global | Cleaning;Washer-Disinfectors;Reprocessing;Hospital | Foundations for automated thermal and chemical decontamination.
ISO_15883-2 | Washer-disinfectors — Part 2: Requirements for washer-disinfectors (thermal disinfection) | ISO 15883-2:2006 | Global | Cleaning;Washer-Disinfectors;Surgical Instruments | Specific validation requirements for thermal reprocessing systems.
ISO_15883-5 | Washer-disinfectors — Part 5: Performance requirements and test method for demonstrating cleaning efficacy | ISO 15883-5:2021 | Global | Cleaning;Washer-Disinfectors;Reprocessing | Defines standardized "test soils" used to validate cleaning efficacy.
ISO_17664-1 | Processing of health care products — Part 1: Critical and semi-critical medical devices | ISO 17664-1:2021 | Global | Cleaning;Surgical Instruments;Endoscopes;Reprocessing | Requirements for IFUs for high-risk reusable devices.
ISO_17664-2 | Processing of health care products — Part 2: Non-critical medical devices | ISO 17664-2:2021 | Global | Cleaning;BP Cuffs;Stethoscopes;Reprocessing | Processing requirements for devices contacting only intact skin.
AAMI_ST98 | Cleaning of reusable medical devices — Part 1: General requirements | AAMI ST98:2022 | US | Cleaning;Washer-Disinfectors;Ultrasonic Cleaners | Comprehensive US standard for cleaning validation methodology.
ISO_22442-1 | Medical devices utilizing animal tissues — Part 1: Application of risk management | ISO 22442-1:2020 | Global | HCT/Ps;Biological Implants;Design;Material Sourcing | Manages risks associated with animal-derived tissue components.
ISO_15194 | In vitro diagnostic medical devices — Requirements for certified reference materials | ISO 15194:2009 | Global | IVD Production;Laboratory;Reagents | Standard for ensuring the accuracy of biological calibrators.
ASTM_F88 | Standard Test Method for Seal Strength of Flexible Barrier Materials | ASTM F88:2023 | US | Packaging;Heat Sealers;Metrology;Laboratory | Primary test method for validating sterile barrier seal strength.
ASTM_F1929 | Detecting Seal Leaks in Porous Medical Packaging by Dye Penetration | ASTM F1929:15 | US | Packaging;Heat Sealers;Inspection;Laboratory | Validation test for sterile integrity of porous packaging.
ISO_14708-1 | Implants for surgery — Active implantable medical devices — Part 1: General requirements for safety, marking and for information to be provided | ISO 14708-1:2014 | Global | Active Implants;Design;Production | Foundational safety requirements for all active implantable systems.
ISO_14708-2 | Implants for surgery — Active implantable medical devices — Part 2: Cardiac pacemakers | ISO 14708-2:2019 | Global | Cardiac Pacemakers;Active Leads;Metrology | Specific requirements for implantable pulse generators and pacing leads.
ISO_14708-5 | Implants for surgery — Active implantable medical devices — Part 5: Circulatory support devices | ISO 14708-5:2020 | Global | VADs;Artificial Hearts;ECMO | Particular requirements for long-term blood pumps and assist systems.
ISO_27186 | Active implantable medical devices — Four-pole connector system — Dimensional and test requirements | ISO 27186:2020 | Global | Cardiac Leads;Pacemakers;Defibrillators | Standard for the IS-4 and DF-4 high-density pacer/defib lead connectors.
ISO_14117 | Active implantable medical devices — Electromagnetic compatibility — EMC test protocols | ISO 14117:2019 | Global | Active Implants;Lab;Product Testing | Protocols for qualifying pacer/defib immunity to EMI and magnetic fields.
IEC_60601-1 | Medical electrical equipment – Part 1: General requirements for basic safety and essential performance | IEC 60601-1:2005+A2:2020 | Global | All Active Devices;Safety Testing | Fundamental standard for electrical safety and therapeutic efficacy.
IEC_60601-1-2 | Electromagnetic disturbances — Requirements and tests | IEC 60601-1-2:2014+A1:2020 | Global | All Active Devices;Lab;Product Testing | Collateral standard for EMC emissions and immunity in medical environments.
IEC_60601-2-2 | Particular requirements for basic safety and essential performance of high frequency surgical equipment | IEC 60601-2-2:2017 | Global | Electrosurgical Units;Therapeutic;Assembly | Critical for validating cautery/RF generators used in surgery.
IEC_60601-2-4 | Particular requirements for basic safety and essential performance of cardiac defibrillators | IEC 60601-2-4:2010/A1:2018 | Global | Defibrillators;AEDs;Product Testing | Particular safety requirements for high-voltage energy delivery.
IEC_60601-2-16 | Particular requirements for basic safety and essential performance of haemodialysis equipment | IEC 60601-2-16:2018 | Global | Dialysis Machines;Therapeutic;Utilities | Safety requirements for extracorporeal blood circuits and fluid paths.
IEC_60601-2-31 | Particular requirements for basic safety and essential performance of external cardiac pacemakers | IEC 60601-2-31:2020 | Global | External Pacemakers;Therapeutic;Assembly | Governs temporary pacing systems with internal power sources.
IEC_60601-2-34 | Particular requirements for basic safety and essential performance of invasive blood pressure monitors | IEC 60601-2-34:2024 | Global | Hemodynamic Monitors;Diagnostic;Metrology | Safety standards for pressure transducers and bedside monitors.
IEC_80601-2-77 | Particular requirements for basic safety and essential performance of robotically assisted surgical equipment | IEC 80601-2-77:2019 | Global | Surgical Robots;Active Implants;Software | Specifically for RASE (Robotic Assisted Surgical Equipment).
ISO_80601-2-12 | Particular requirements for basic safety and essential performance of critical care ventilators | ISO 80601-2-12:2020 | Global | Ventilators;Anesthesia Machines;Respiratory | Safety requirements for life-sustaining pulmonary support.
ISO_80601-2-61 | Particular requirements for basic safety and essential performance of pulse oximeter equipment | ISO 80601-2-61:2017 | Global | Pulse Oximeters;Patient Monitoring;Metrology | Specific accuracy requirements for SpO2 sensors and modules.
ISO_17025 | General requirements for the competence of testing and calibration laboratories | ISO/IEC 17025:2017 | Global | Metrology;Calibration;QC Labs | Mandatory for labs providing certified calibration for production tools.
ISO_81060-1 | Non-invasive sphygmomanometers — Part 1: Requirements for non-automated measurement type | ISO 81060-1:2007 | Global | BP Cuffs;Metrology;Manual Gauges | Standards for manual mercury or aneroid blood pressure gauges.
ISO_81060-2 | Non-invasive sphygmomanometers — Part 2: Clinical investigation of automated measurement type | ISO 81060-2:2018 | Global | BP Monitors;Metrology;Validation | Validation of the algorithm accuracy for digital BP cuffs.
IEC_61010-1 | Safety requirements for electrical equipment for measurement, control, and laboratory use | IEC 61010-1:2010+A1:2016 | Global | Lab Equipment;Centrifuges;Incubators | General safety standard for instruments not in direct patient contact.
ISO_13482 | Robots and robotic devices — Safety requirements for personal care robots | ISO 13482:2014 | Global | Rehabilitation Robots;Assistive Devices | Safety framework for robots interacting physically with humans.
ISO_19223 | Lung ventilators and related equipment — Vocabulary and semantics | ISO 19223:2019 | Global | Ventilators;Anesthesia;Respiratory | Establishes standardized terminology for respiratory support devices.
ISO_23747 | Anaesthetic and respiratory equipment — Peak expiratory flow meters for the assessment of pulmonary function | ISO 23747:2015 | Global | Respiratory;Peak Flow Meters;Diagnostic | Requirements for assessing pulmonary function in spontaneously breathing humans.
ISO_28620 | Medical devices — Non-electrically driven portable infusion devices | ISO 28620:2010 | Global | Infusion;Elastomeric Pumps;Drug Delivery | Safety and performance for mechanical/elastomeric infusion systems.
ISO_20916 | In vitro diagnostic medical devices — Clinical performance studies using specimens from human subjects — Good study practice | ISO 20916:2019 | Global | IVD Production;Reagents;HCT/Ps | The "GCP" equivalent for clinical validation of diagnostic assays.
ISO_14155 | Clinical investigation of medical devices for human subjects — Good clinical practice | ISO 14155:2020 | Global | All;Design;PMA/510k Validation | Mandatory framework for conducting clinical trials to support FDA/CE submissions.
ISO_22610 | Surgical drapes, gowns and clean air suits — Test method to determine the resistance to wet bacterial penetration | ISO 22610:2006 | Global | PPE;Surgical Drapes;Cleanroom Laundry | Standard for validating the barrier effectiveness of protective medical textiles.
ISO_23640 | In vitro diagnostic medical devices — Evaluation of stability of in vitro diagnostic reagents | ISO 23640:2011 | Global | IVD Production;Reagents;Storage | Critical for OQ/PQ of stability chambers and establishing shelf-life.
IPC_A_610 | Acceptability of Electronic Assemblies | IPC-A-610H | Global | Electronics;Active Implants;PCBA | Class 3 is the mandatory quality level for life-support medical electronics.
J_STD_001 | Requirements for Soldered Electrical and Electronic Assemblies | J-STD-001H | Global | Electronics;Soldering;Active Implants | Governs the "special process" validation of SMT and wave soldering.
IPC_6012 | Qualification and Performance Specification for Rigid Printed Boards | IPC-6012F | Global | Electronics;PCBs;Active Leads | Defines manufacturing performance for high-reliability medical circuit boards.
ISO_11070 | Sterile single-use intravascular introducers, dilators and guidewires | ISO 11070:2014 | Global | Catheters;Guidewires;Introducers | Requirements for vascular access devices; critical for coiling/grinding PQ.
ASTM_F1717 | Standard Test Methods for Spinal Implant Constructs in a Vertebrectomy Model | ASTM F1717-21 | US | Orthopedics;Spinal Implants;Fatigue Rigs | Primary protocol for qualifying the mechanical durability of spinal rods/screws.
ASTM_F543 | Standard Specification and Test Methods for Metallic Medical Bone Screws | ASTM F543-23 | US | Orthopedics;Bone Screws;Torsion Testers | Governs the validation of torsional yield and driving torque for bone screws.
USP_1231 | Water for Pharmaceutical Purposes | USP <1231> | US | Utilities;WFI Systems;RO/DI Skids | Comprehensive guide for maintaining and validating WFI/Purified water systems.
ASTM_D1193 | Standard Specification for Reagent Water | ASTM D1193-06 | US | Utilities;Laboratory;IVD Production | Categorizes high-purity water grades used in clinical diagnostic assays.
ISO_14644-3 | Cleanrooms and associated controlled environments — Part 3: Test methods | ISO 14644-3:2019 | Global | Facilities;HVAC;Metrology | Methodology for smoke studies, filter leaks, and airflow visualization.
ISO_14644-4 | Cleanrooms and associated controlled environments — Part 4: Design, construction and start-up | ISO 14644-4:2022 | Global | Facilities;Infrastructure;Modular Walls | Requirements for the IQ (Installation Qualification) of new cleanroom builds.
ISO_14644-5 | Cleanrooms and associated controlled environments — Part 5: Operations | ISO 14644-5:2004 | Global | Facilities;Garments;Personnel | Requirements for cleanroom laundry, gowning, and operational hygiene.
ISO_15189 | Medical laboratories — Requirements for quality and competence | ISO 15189:2022 | Global | Lab;IVD;HCT/Ps;QC Labs | Quality management requirements specific to clinical/medical laboratories.
ISO_9626 | Stainless steel needle tubing for the manufacture of medical devices | ISO 9626:2016 | Global | Needles;Cannula Grinders;Forming | Establishes requirements for the tubing used in high-precision needle manufacturing.
CLSI_EP05 | Evaluation of Precision of Quantitative Measurement Procedures | CLSI EP05-A3 | US;Global | IVD Production;Laboratory;Analyzers | Foundational for establishing within-site precision for diagnostic assays.
CLSI_EP06 | Evaluation of Linearity of Quantitative Measurement Procedures | CLSI EP06-Ed2 | US;Global | IVD Production;Laboratory;Analyzers | Guidance for validating the analytical measuring interval (AMI).
CLSI_EP07 | Interference Testing in Clinical Chemistry | CLSI EP07-Ed3 | US;Global | IVD Production;Laboratory;Reagents | Evaluates the effect of substances like bilirubin or lipids on test results.
CLSI_EP17 | Evaluation of Detection Capability for Clinical Laboratory Measurement Procedures | CLSI EP17-Ed2 | US;Global | IVD Production;Laboratory;Reagents | Standard for defining Limit of Blank (LoB), Detection (LoD), and Quantitation (LoQ).
IEC_81001-5-1 | Health software and health IT systems — Part 5-1: Security — Activities in the product life cycle | IEC 81001-5-1:2021 | Global | Software;Active Implants;IT Systems | The first international standard specifically targeting health software cybersecurity.
IEC_82304-1 | Health software — Part 1: General requirements for product safety | IEC 82304-1:2016 | Global | Software;Mobile Apps;Cloud Systems | Covers the entire life cycle of standalone software (SaMD), including validation.
ISO_18113-2 | IVD medical devices — Information supplied by the manufacturer (labelling) — Part 2: Reagents for professional use | ISO 18113-2:2022 | Global | IVD Production;Labeling;Reagents | Has precedence over ISO 20417 for professional IVD reagent labeling.
ISO_18113-3 | IVD medical devices — Information supplied by the manufacturer (labelling) — Part 3: Instruments for professional use | ISO 18113-3:2022 | Global | IVD Production;Labeling;Analyzers | Specific labeling and IFU requirements for complex laboratory instruments.
ISO_18113-4 | IVD medical devices — Information supplied by the manufacturer (labelling) — Part 4: Reagents for self-testing | ISO 18113-4:2022 | Global | IVD Production;Labeling;Home Tests | Focuses on clarity for untrained users (e.g., pregnancy or glucose tests).
ISO_18113-5 | IVD medical devices — Information supplied by the manufacturer (labelling) — Part 5: Instruments for self-testing | ISO 18113-5:2022 | Global | IVD Production;Labeling;Glucometers | Requirements for home-use diagnostic hardware and accompanying instructions.
ASTM_F2100 | Standard Specification for Performance of Materials Used in Medical Face Masks | ASTM F2100-23 | US | PPE;Masks;Laundering;Environment | Classifies Level 1-3 barriers based on PFE, BFE, and fluid resistance.
ASTM_F2082 | Standard Test Method for Determination of Transformation Temperature of Nitinol by Bend and Free Recovery | ASTM F2082-15 | US | Nitinol;Material Forming;Metrology | The industry-standard "BFR" method for verifying Austenite finish (Af).
ASTM_F2063 | Standard Specification for Wrought Nickel-Titanium Shape Memory Alloys for Medical Devices | ASTM F2063-24 | US | Nitinol;Material Forming;Design | Establishes purity and chemistry (Ni 54.5–57%) for implant-grade Nitinol.
ISO_15708-3 | Non-destructive testing — Radiation methods — Computed tomography — Part 3: Interpretation and reporting | ISO 15708-3:2017 | Global | Metrology;CT Scanners;Inspection | Guidelines for axial CT scanning and volumetric flaw detection.
ISO_18369-1 | Ophthalmic optics — Contact lenses — Part 1: Vocabulary, classification system and recommendations for labeling | ISO 18369-1:2017 | Global | Ophthalmics;Contact Lenses;Labeling | Core standard for the manufacture and physical testing of contact lenses.
ISO_10993-18 | Biological evaluation of medical devices — Part 18: Chemical characterization of medical device materials | ISO 10993-18:2020 | Global | Biocompatibility;All;Analytical Lab | Governs E&L (Extractables/Leachables) studies for implantable devices.
ISO_10993-12 | Biological evaluation of medical devices — Part 12: Sample preparation and reference materials | ISO 10993-12:2021 | Global | Biocompatibility;All;Laboratory | Specifies how to prepare device extracts for biological safety testing.
ISO_10993-17 | Biological evaluation of medical devices — Part 17: Toxicological risk assessment of medical device constituents | ISO 10993-17:2023 | Global | Biocompatibility;All;Risk Management | Defines the tolerable intake (TI) limits for chemicals identified in E&L studies.
CLSI_M100 | Performance Standards for Antimicrobial Susceptibility Testing | CLSI M100-Ed34 | US;Global | IVD Production;Microbiology;Testing | Standard for ensuring accurate reporting of bacterial resistance/sensitivity.
ISO_IEEE_11073 | Health informatics — Personal health device communication — Part 10101: Nomenclature | ISO/IEEE 11073-10101 | Global | Software;Patient Monitoring;Active Implants | Vital sign communication standards for interoperable medical devices. [Image 1]
ISO_80369-1 | Small-bore connectors for liquids and gases in healthcare applications — Part 1: General requirements | ISO 80369-1:2018 | Global | Connectors;Luer locks;Infusion;Respiratory | Establishes a framework for non-interchangeable connectors to prevent misconnections. [Image 1]
ISO_11117 | Gas cylinders — Valve protection caps and valve guards — Design, construction and tests | ISO 11117:2019 | Global | Gas Cylinders;Utilities;Manifolds | Safety requirements for the transport and handling of medical gas cylinders. [Image 1]
ISO_16571 | Systems for evacuation of plume generated by medical devices | ISO 16571:2014 | Global | Electrosurgical Units;Laser Systems;Surgery | Requirements for smoke evacuation systems during surgical procedures. [Image 1]
ISO_12052 | Health informatics — Digital imaging and communication in medicine (DICOM) including workflow and data management | ISO 12052:2017 | Global | Imaging Systems;Radiology;Software | The international standard for exchanging medical images and related information. [Image 1]
ISO_22442-2 | Medical devices utilizing animal tissues and their derivatives — Part 2: Controls on sourcing, collection and handling | ISO 22442-2:2020 | Global | HCT/Ps;Biological Implants;Material Sourcing | Controls for sourcing and handling of animal-derived tissues used in implants.
ISO_22442-3 | Medical devices utilizing animal tissues and their derivatives — Part 3: Validation of the elimination and/or inactivation of viruses and transmissible spongiform encephalopathy (TSE) agents | ISO 22442-3:2007 | Global | HCT/Ps;Biological Implants;Sterilization | Mandatory validation for products using animal tissue to ensure safety from pathogens.
ISO_11979-2 | Ophthalmic implants — Intraocular lenses — Part 2: Optical properties and test methods | ISO 11979-2:2024 | Global | IOLs;Ophthalmics;Metrology | Specific test methods for optical performance including MTF and dioptric power.
ISO_11979-3 | Ophthalmic implants — Intraocular lenses — Part 3: Mechanical properties and test methods | ISO 11979-3:2012 | Global | IOLs;Ophthalmics;Mechanical Testing | Mechanical tests for compression force, vault height, and loop durability.
ISO_11979-5 | Ophthalmic implants — Intraocular lenses — Part 5: Biocompatibility | ISO 11979-5:2020 | Global | IOLs;Ophthalmics;Laboratory | Particular requirements for physicochemical and biological evaluation of IOL materials.
ISO_11979-6 | Ophthalmic implants — Intraocular lenses — Part 6: Shelf-life and transport stability testing | ISO 11979-6:2014 | Global | IOLs;Ophthalmics;Packaging;Storage | Validation of sterile intraocular lenses in their final packaging over time.
ISO_11979-7 | Ophthalmic implants — Intraocular lenses — Part 7: Clinical investigations of intraocular lenses for the correction of aphakia | ISO 11979-7:2024 | Global | IOLs;Ophthalmics;Clinical | Guidance for clinical investigations supporting IOL safety and performance.
ISO_11979-8 | Ophthalmic implants — Intraocular lenses — Part 8: Fundamental requirements | ISO 11979-8:2017 | Global | IOLs;Ophthalmics;Design | Core safety and performance requirements for all IOL designs.
ISO_7198 | Cardiovascular implants and extracorporeal systems — Vascular prostheses — Tubular vascular grafts and vascular patches | ISO 7198:2016 | Global | Vascular Grafts;Stent-Grafts;Cardiovascular | Requirements for materials, construction, and mechanical testing of vascular implants.
ISO_10993-3 | Biological evaluation of medical devices — Part 3: Tests for genotoxicity, carcinogenicity and reproductive toxicity | ISO 10993-3:2014 | Global | Biocompatibility;All;Laboratory | Long-term safety testing requirements for chronic patient-contact materials.
ISO_10993-6 | Biological evaluation of medical devices — Part 6: Tests for local effects after implantation | ISO 10993-6:2016 | Global | Biocompatibility;Implants;Laboratory | Evaluation of tissue response at the site of implant placement.
ISO_10993-9 | Biological evaluation of medical devices — Part 9: Framework for identification and quantification of potential degradation products | ISO 10993-9:2019 | Global | Biocompatibility;All;Laboratory | Methodology for identifying what products are released as a device degrades.
ISO_10993-11 | Biological evaluation of medical devices — Part 11: Tests for systemic toxicity | ISO 10993-11:2017 | Global | Biocompatibility;All;Laboratory | Evaluation of potential generalized effects on organs away from the site of contact.
ISO_10993-13 | Biological evaluation of medical devices — Part 13: Identification and quantification of degradation products from polymeric medical devices | ISO 10993-13:2010 | Global | Biocompatibility;Materials;Analytical Lab | Specific procedures for thermal and chemical degradation of plastics.
ISO_10993-14 | Biological evaluation of medical devices — Part 14: Identification and quantification of degradation products from ceramics | ISO 10993-14:2001 | Global | Biocompatibility;Materials;Analytical Lab | Specific procedures for degradation of ceramic and glass-based materials.
ISO_10993-15 | Biological evaluation of medical devices — Part 15: Identification and quantification of degradation products from metals and alloys | ISO 10993-15:2019 | Global | Biocompatibility;Materials;Analytical Lab | Evaluation of metal ion release and corrosion products from metallic implants.
IEC_60601-2-33 | Medical electrical equipment — Part 2-33: Particular requirements for magnetic resonance safety | IEC 60601-2-33:2022 | Global | MRI Scanners;Radiology | Critical for validating RF heating and magnetic safety limits.
IEC_60601-2-37 | Medical electrical equipment — Part 2-37: Particular requirements for ultrasound safety | IEC 60601-2-37:2024 | Global | Ultrasound;Diagnostic;Lab | Safety/performance for diagnostic/monitoring equipment.
IEC_60601-2-43 | Medical electrical equipment — Part 2-43: Particular requirements for interventional X-ray | IEC 60601-2-43:2022 | Global | Cardiac Cath Labs;Imaging | Crucial for OQ of motorized arms and imaging detector field sizes.
IEC_60601-2-45 | Medical electrical equipment — Part 2-45: Particular requirements for mammographic X-ray | IEC 60601-2-45:2022 | Global | Mammography;X-Ray Systems | Specific safety for full-field digital mammography.
IEC_60601-2-54 | Medical electrical equipment — Part 2-54: Particular requirements for radiography/radioscopy | IEC 60601-2-54:2022 | Global | X-Ray Systems;Radiology | Safety for stationary, mobile, and tomographic X-ray.
ISO_14698-1 | Cleanrooms — Biocontamination control — Part 1: General principles | ISO 14698-1:2003 | Global | Facilities;Cleanrooms;Micro | Methodology for evaluating biocontamination in controlled environments.
ISO_14698-2 | Cleanrooms — Biocontamination control — Part 2: Evaluation of data | ISO 14698-2:2003 | Global | Facilities;Cleanrooms;Micro | Guidance for interpreting results from biocontamination sampling.
ISO_11138-1 | Sterilization — Biological indicators — Part 1: General requirements | ISO 11138-1:2017 | Global | Sterilization;Challenge;BI | Production and labeling for all biological indicators.
ISO_11138-2 | Sterilization — Biological indicators — Part 2: Indicators for EtO | ISO 11138-2:2017 | Global | Sterilization;EtO Chambers | Specific indicators for ethylene oxide gas processes.
ISO_11138-3 | Sterilization — Biological indicators — Part 3: Indicators for moist heat | ISO 11138-3:2017 | Global | Sterilization;Autoclaves | Specific indicators for steam/moist heat processes.
ISO_11138-7 | Sterilization — Biological indicators — Part 7: Guidance for use | ISO 11138-7:2019 | Global | Sterilization;Validation;BI | Selection and interpretation of results in cycle development.
ISO_18472 | Sterilization — Biological and chemical indicators — Test equipment | ISO 18472:2018 | Global | Sterilization;Metrology | Requirements for "resistometers" used to test indicators.
IEC_60601-1-8 | Medical electrical equipment — Part 1-8: Alarm systems | IEC 60601-1-8:2020 | Global | All Active Devices;Alarms | Requirements for audible and visual medical alarm patterns.
IEC_60601-1-11 | Medical electrical equipment — Part 1-11: Home healthcare | IEC 60601-1-11:2020 | Global | Home Devices;Glucometers | Requirements for devices used by laypersons in home settings.
IEC_60601-1-12 | Medical electrical equipment — Part 1-12: EMS environment | IEC 60601-1-12:2020 | Global | EMS;Defibrillators;Transport | Requirements for devices used in ambulances and field triage.
ASTM_E3270 | Standard Guide for Operational Qualification of Gamma Irradiators | ASTM E3270-21 | US | Sterilization;Gamma;E-Beam | FDA-recognized pathway for OQ of radiation systems.
AAMI_TIR17 | Compatibility of materials subjected to sterilization | AAMI TIR17:2024 | US | All;Sterilization;Design | Assessment of how sterilization (EtO/Gamma) impacts materials.
AAMI_ST72 | Bacterial endotoxins — Test methods and routine monitoring | AAMI ST72:2019 | US | Sterilization;LAL;Laboratory | Standards for pyrogenicity testing and batch-testing alternatives.
AAMI_ST91 | Flexible and semi-rigid endoscope processing in health care | AAMI ST91:2021 | US | Cleaning;Endoscopes;Reprocessing | Comprehensive guide for HLD and sterilization of endoscopes.
AAMI_ST108 | Water for the processing of medical devices | AAMI ST108:2023 | US | Utilities;Cleaning;Reprocessing | Defines water quality (PW/WFI) for device cleaning/rinsing.
ISO_11979-1 | Ophthalmic implants — Intraocular lenses — Part 1: Vocabulary | ISO 11979-1:2018 | Global | IOLs;Ophthalmics | Foundational terminology for intraocular lens evaluation.
ISO_11979-4 | Ophthalmic implants — Intraocular lenses — Part 4: Labelling and information | ISO 11979-4:2008 | Global | IOLs;Ophthalmics;Labeling | Specific requirements for IOL primary and secondary packaging data.
ISO_11979-9 | Ophthalmic implants — Intraocular lenses — Part 9: Multifocal intraocular lenses | ISO 11979-9:2006 | Global | MIOLs;Ophthalmics;Metrology | Particular requirements for lenses with multi-distance optical powers.
ISO_11979-10 | Ophthalmic implants — Intraocular lenses — Part 10: Phakic IOLs | ISO 11979-10:2018 | Global | PIOLs;Ophthalmics;Clinical | Requirements for clinical investigation of corrections in phakic eyes.
ISO_25539-1 | Cardiovascular implants — Endovascular devices — Part 1: Endovascular prostheses | ISO 25539-1:2017 | Global | Stent-grafts;Aortic Grafts | Core requirements for aortic and peripheral graft systems.
ISO_25539-2 | Cardiovascular implants — Endovascular devices — Part 2: Vascular stents | ISO 25539-2:2020 | Global | Stents;Nitinol;Cardiovascular | Specific benchmarks for bare metal and drug-eluting vascular stents.
ISO_25539-3 | Cardiovascular implants — Endovascular devices — Part 3: Vena cava filters | ISO 25539-3:2011 | Global | VC Filters;Embolic Protection | Benchmarks for implantable filters used to prevent pulmonary embolism.
ISO_10555-3 | Intravascular catheters — Part 3: Central venous catheters | ISO 10555-3:2013 | Global | CVCs;Catheters;PICC Lines | Particular requirements for long-term venous access devices.
ASTM_F2394 | Standard Guide for Measuring Securement of a Stent on a Balloon | ASTM F2394-07 | US | Stents;Balloon Catheters;Assembly | Industry-standard protocol for qualifying stent crimping/retention.
ASTM_F2081 | Standard Guide for Characterization and Presentation of the Dimensional Attributes of Stents | ASTM F2081-06 | US | Stents;Metrology;Metrology | Methodology for measuring stent diameter, length, and wall thickness.
ASTM_F2606 | Standard Guide for Three-Point Bending of Balloon-Expandable Vascular Stents | ASTM F2606-08 | US | Stents;Mechanical Testing | Measures the flexural rigidity of the stent/delivery system.
ASTM_F2942 | Standard Guide for In vitro Axial, Bending, and Torsional Durability Testing | ASTM F2942-19 | US | Vascular Stents;Fatigue Rigs | Provides protocols for accelerated long-term durability testing.
ISO_15609-4 | Specification and qualification of welding procedures for metallic materials — Part 4: Laser beam welding | ISO 15609-4:2009 | Global | Laser Welders;Active Implants;Assembly | Standardizes WPS for medical laser joining processes.
ISO_13919-1 | Welding — Electron and laser-beam welded joints — Part 1: Steel, nickel, and titanium | ISO 13919-1:2019 | Global | Laser Welders;Surgical Tools;Implants | Defines permissible imperfection levels for high-quality welds.
ANSI_Z136.1 | American National Standard for Safe Use of Lasers | ANSI Z136.1-2022 | US | Lasers;Welding;Production Safety | Critical for qualifying laser enclosures and administrative controls.
ASTM_F2182 | Standard Test Method for Measurement of RF Induced Heating on or near Passive Implants | ASTM F2182-19 | US | Passive Implants;MRI;Metrology | Procedure for qualifying temperature rise during MRI exposure.
ISO_TS_10974 | Assessment of the safety of MRI for patients with an active implantable medical device | ISO/TS 10974:2018 | Global | Active Implants;MRI;Safety Testing | Four-tiered approach for validating active device safety in MRI.
ISO_21530 | Dentistry — Oral healthcare products — Evaluation of resistance to chemical disinfectants | ISO 21530:2004 | Global | Dental Equipment;Cleaning;Metrology | Standard for validating surface resistance to repetitive cleaning.
ISO_27185 | Cardiac rhythm management devices — Symbols to be used with labels | ISO 27185:2012 | Global | Pacemakers;Labeling | Specific symbols for implantable cardiac rhythm devices.
ISO_11040-4 | Prefilled syringes — Part 4: Glass barrels for injectables | ISO 11040-4:2015 | Global | Syringes;Filling;Packaging | Requirements for the primary container components of injectables.
USP_87 | Biological Reactivity Test, In Vitro — Direct Contact Test | USP | US | Biocompatibility;All;Laboratory | Evaluates cellular reactivity of materials via elution and agar overlay.
USP_88 | Biological Reactivity Test, In Vivo — Plastic Class VI Testing | USP | US | Biocompatibility;Implants;Materials | Determines systemic and local responses to plastics and polymers.
USP_788 | Particulate Matter in Injections — Sub-visible Particulates | USP | US | IVD Production;Filling;HCT/Ps | Methods for counting particulates in injectables and sterile liquids.
USP_643 | Total Organic Carbon (TOC) — Water Monitoring | USP | US | Utilities;WFI Systems;Pure Water | Specifies the testing methodology and limits for organic impurities.
USP_645 | Water Conductivity — Sanitary Monitoring | USP | US | Utilities;WFI Systems;Pure Water | Three-stage test for determining the ionic purity of process water.
ASTM_F1904 | Standard Practice for Testing the Biological Responses to Particles In Vivo | ASTM F1904-14 | US | Biocompatibility;Implants;Metrology | Evaluates tissue reaction to wear debris from joint replacements.
ASTM_F1147 | Standard Test Method for Tension Testing of Calcium Phosphate and Metallic Coatings | ASTM F1147-05 | US | Orthopedics;HA Sprayers;Coating | Mandatory protocol for qualifying implant coating adhesion strength.
ASTM_F1044 | Standard Test Method for Shear Testing of Porous Metal Coatings | ASTM F1044-05 | US | Orthopedics;HA Sprayers;Sintering | Measures the static shear resistance of surface/substrate interfaces.
ASTM_F1160 | Shear and Bending Fatigue Testing of Calcium Phosphate and Metallic Coatings | ASTM F1160-14 | US | Orthopedics;Fatigue Rigs;Metrology | Constant stress amplitude testing to determine coating durability.
ISO_10555-1 | Intravascular catheters — Sterile and single-use catheters — Part 1: General requirements | ISO 10555-1:2013 | Global | Catheters;Interventional;Forming | Requirements for radio-detectability, tensile force, and leakage.
ISO_10555-4 | Intravascular catheters — Part 4: Balloon dilatation catheters | ISO 10555-4:2023 | Global | PTCA Balloons;Catheters;Assembly | Benchmarks for rated burst pressure (RBP) and deflation time.
ISO_10555-5 | Intravascular catheters — Part 5: Over-needle peripheral catheters | ISO 10555-5:2024 | Global | Cannulas;Needles;Peripheral Access | Specific safety for over-the-needle vascular access assemblies.
ISO_5838-1 | Implants for surgery — Metallic skeletal pins and wires — Part 1: General requirements | ISO 5838-1:2013 | Global | Skeletal Pins;Orthopedic;Machining | Dimensional and material benchmarks for metallic bone fasteners.
ISO_14630 | Non-active surgical implants — General requirements | ISO 14630:2012 | Global | All Implants;Orthopedic;Vascular | Core requirements for marking, packaging, and biocompatibility.
ASTM_F138 | Wrought 18Chromium-14Nickel-2.5Molybdenum Stainless Steel | ASTM F138-23 | US | Orthopedics;Implants;Material Prep | Standard chemistry for 316LVM implant-grade stainless steel.
ASTM_F75 | Cobalt-28 Chromium-6 Molybdenum Alloy Castings | ASTM F75-23 | US | Orthopedics;Furnaces;Casting | Specification for Co-Cr-Mo alloys used in joint bearing surfaces.
ASTM_F1537 | Wrought Cobalt-28Chromium-6Molybdenum Alloys | ASTM F1537-20 | US | Orthopedics;Machining;Material Prep | Requirements for bar and wire forms used in precision screw making.
IEC_62353 | Medical electrical equipment — Recurrent test and test after repair | IEC 62353:2014 | Global | Active Devices;Metrology;Repair | Protocols for periodic safety testing and ground bond verification.
ISO_22441 | Sterilization of health care products — VH2O2 — Requirements | ISO 22441:2022 | Global | Sterilization;VHP Units;Isolators | Requirements for vaporized hydrogen peroxide (VH2O2) processes.
ASTM_D4169 | Standard Practice for Performance Testing of Shipping Containers | ASTM D4169-23 | US | Packaging;Logistics;PQ Studies | Mandatory simulation of drops, vibration, and altitude for sterile kits.
ISO_10993-10 | Biological evaluation of medical devices — Part 10: Tests for skin sensitization | ISO 10993-10:2021 | Global | Biocompatibility;All;Laboratory | Evaluates potential for delayed hypersensitivity reactions.
ISO_10993-23 | Biological evaluation of medical devices — Part 23: Tests for irritation | ISO 10993-23:2021 | Global | Biocompatibility;All;Laboratory | Specific requirements for irritation testing (replaces part of -10).
ISO_11138-8 | Sterilization — Biological indicators — Part 8: Method for validation of a reduced incubation time | ISO 11138-8:2021 | Global | Sterilization;Validation;BIs | Protocol for shortening the wait-time for biological indicator results.
ISO_13408-2 | Aseptic processing of health care products — Part 2: Sterilizing filtration | ISO 13408-2:2018 | Global | Aseptic Filling;IVDs;Vial Fillers | Requirements for qualifying filters in liquid/gas sterilizing paths.
ISO_14161 | Sterilization — Biological indicators — Guidance for selection, use and interpretation of results | ISO 14161:2009 | Global | Sterilization;Challenge;BIs | Technical guidance for BI application in cycle development.
ASTM_F2101 | Standard Test Method for Evaluating the Bacterial Filtration Efficiency (BFE) of Medical Face Mask Materials | ASTM F2101-25 | US | PPE;Masks;Laundering | Standard test using Staphylococcus aureus biological aerosols.
ASTM_F1670 | Resistance of Materials Used in Protective Clothing to Penetration by Synthetic Blood | ASTM F1670-24a | US | PPE;Gowns;Cleanroom Suits | Qualifying test for barrier effectiveness against blood-borne pathogens.
ISO_7886-2 | Sterile hypodermic syringes for single use — Part 2: Syringes for use with power-driven syringe pumps | ISO 7886-2:2020 | Global | Syringes;Infusion Pumps;Filling | Safety/performance requirements for automated drug delivery.
ISO_1135-4 | Transfusion equipment for medical use — Part 4: Transfusion sets for single use, gravity feed | ISO 1135-4:2025 | Global | Transfusion Kits;IVD;HCT/Ps | Standards for gravity-based blood and fluid delivery systems.
ASTM_F2407 | Standard Specification for Surgical Gowns Intended for Use in Healthcare Facilities | ASTM F2407-23a | US | PPE;Surgical Gowns;Laundering | Defines performance levels for surgical gowns based on AAMI PB70.
ASTM_F3502 | Standard Specification for Barrier Face Coverings | ASTM F3502-25 | US | PPE;Masks;Environment | Requirements for non-medical masks used in public or facility settings.
ASTM_F3107 | Measuring Accuracy after Mechanical Disturbances on Reference Frames of Computer Assisted Surgery Systems | ASTM F3107-14 | US | Surgical Robots;Metrology | OQ test method for validating robotic surgical navigation precision.
ASTM_F3292 | Standard Practice for Inspection of Spinal Implants Undergoing Testing | ASTM F3292-25 | US | Orthopedics;Spinal Implants;Fatigue | Procedures for identifying cracks/wear during dynamic test cycles.
ISO_14243-3 | Wear of total knee-joint prostheses — Part 3: Loading/displacement parameters for displacement control | ISO 14243-3:2014 | Global | Knee Implants;Mechanical Testing | Defines the gait cycle simulation for displacement-controlled rigs.
ASTM_F3690 | Standard Test Method for Evaluating Suture Anchor Insertion and Pull Displacement Resistance | ASTM F3690-24 | US | Orthopedics;Suture Anchors;Metrology | PQ benchmark for validating anchor retention strength in bone.
ASTM_F732 | Standard Test Method for Wear Testing of Polymeric Materials Used in Total Joint Prostheses | ASTM F732-17 | US | Orthopedics;Implants;Material Lab | Evaluates long-term material wear debris (PEEK/UHMWPE).
ASTM_F2789 | Standard Guide for Mechanical and Functional Characterization of Nucleus Devices | ASTM F2789-10 | US | Spinal Implants;Mechanical Testing | Specialized protocols for intervertebral disc replacement devices.
ASTM_F3140 | Cyclic Fatigue Testing of Metal Tibial Tray Components of Unicondylar Knee Joint Replacements | ASTM F3140-23 | US | Orthopedics;Knee Implants;Fatigue | Particular requirements for partial knee replacement durability.
ISO_21536 | Non-active surgical implants — Joint replacement implants — Specific requirements for knee-joint replacements | ISO 21536:2023 | Global | Knee Implants;Orthopedics;Design | Core performance and safety benchmarks for all total knee systems.
ISO_11491 | Implants for surgery — Determination of impact resistance of ceramic femoral heads | ISO 11491:2017 | Global | Orthopedics;Hip Implants;Metrology | Validation test for surviving surgical "miss-hit" impact events.
IEC_60601-2-24 | Medical electrical equipment — Part 2-24: Particular requirements for basic safety of infusion pumps | IEC 60601-2-24:2012 | Global | Infusion Pumps;Therapeutic | Critical for validating flow accuracy and occlusion pressure alarms.
ISO_14801 | Dentistry — Implants — Dynamic loading test for endosseous dental implants | ISO 14801:2016 | Global | Dental Implants;Metrology;Fatigue | Defines the flexural fatigue rig protocol for worst-case dental implants.
USP_1229_5 | Biological Indicators for Sterilization | USP <1229.5> | US | Sterilization;Validation;BIs | Detailed performance requirements for BIs used in life science labs.
USP_55 | Biological Indicators — Resistance Performance Tests | USP | US | Sterilization;Metrology;BIs | Standard methods for determining BI D-values and survival/kill times.
USP_1225 | Validation of Compendial Procedures | USP | US | Analytical Lab;Metrology | Requirements for proving analytical methods are accurate and precise.
ASTM_E2857 | Standard Guide for Validating Analytical Methods | ASTM E2857-11 | US | Analytical Lab;Metrology | Complementary guidance for validating non-compendial laboratory tests.
USP_61 | Microbiological Examination of Nonsterile Products: Microbial Enumeration Tests | USP | US | IVD Production;Reagents;Micro | Standard for assessing bioburden levels in non-sterile device components.
USP_62 | Microbiological Examination of Nonsterile Products: Tests for Specified Microorganisms | USP | US | IVD Production;Reagents;Micro | Procedures for identifying pathogens like S. aureus or P. aeruginosa.
ISO_11608-1 | Needle-based injection systems for medical use — Part 1: General requirements | ISO 11608-1:2022 | Global | Pen Injectors;Autoinjectors | Core requirements for automated drug delivery hardware.
ISO_11608-6 | Needle-based injection systems for medical use — Part 6: On-body delivery systems | ISO 11608-6:2022 | Global | Wearable Pumps;Infusion | Particular requirements for bolus injectors attached to the patient.
ISO_11608-7 | Needle-based injection systems for medical use — Part 7: Accessibility for persons with visual impairment | ISO 11608-7:2016 | Global | Pen Injectors;Labeling;Home Use | Standards for tactile/audible feedback validation in home devices.
ASTM_D3577 | Standard Specification for Rubber Surgical Gloves | ASTM D3577-19 | US | PPE;Gloves;Forming | Establishes the material and sterile integrity benchmarks for surgeons.
ASTM_D3578 | Standard Specification for Rubber Examination Gloves | ASTM D3578-19 | US | PPE;Gloves;Laundering | Particular requirements for non-sterile patient contact gloves.
ASTM_D5250 | Standard Specification for Poly(vinyl chloride) Gloves for Medical Application | ASTM D5250-19 | US | PPE;Gloves;Material Prep | Requirements for PVC/vinyl gloves used in low-risk healthcare.
ASTM_D6319 | Standard Specification for Nitrile Examination Gloves for Medical Application | ASTM D6319-19 | US | PPE;Gloves;Forming | Performance benchmarks for high-durability synthetic gloves.
AAMI_TIR101 | Fluid Delivery Performance Testing for Infusion Pumps | AAMI TIR101:2021 | US | Infusion Pumps;Metrology | Recommended framework for validating delivery accuracy below 1 mL/h.
ISO_11138-8 | Sterilization — BIs — Part 8: Validation of a reduced incubation time | ISO 11138-8:2021 | Global | Sterilization;Validation | Protocol for justifying 24-hour vs 7-day biological indicator results.
ASTM_F2502 | Specification and Test Methods for Absorbable Plates and Screws | ASTM F2502-17 | US | Orthopedics;Bio-absorbables | Governs the degradation and mechanical testing of resorbable fixations.
ISO_14879-1 | Implants for surgery — Knee-joint prostheses — Part 1: Tibial trays | ISO 14879-1:2020 | Global | Orthopedics;Knee Implants | Specific requirements for the endurance properties of tibial bases.
ISO_22622 | Health informatics — Audit trails for electronic health records | ISO 22622:2019 | Global | IT Systems;LIMS;Radiology | Controls for recording all changes to sensitive clinical data sets.
ISO_13408-1 | Aseptic processing of health care products — Part 1: General requirements | ISO 13408-1:2023 | Global | Aseptic Filling;Isolators;Vial Fillers | Foundational requirements for aseptic manufacturing environments.
ISO_13408-4 | Aseptic processing of health care products — Part 4: Clean-in-place technologies | ISO 13408-4:2005 | Global | Cleaning;CIP Skids;Vessels | Requirements for qualifying automated cleaning of fluid paths.
ISO_13408-5 | Aseptic processing of health care products — Part 5: Sterilization in place | ISO 13408-5:2006 | Global | Sterilization;SIP Systems;Vessels | Validation of in-situ steam sterilization for complex equipment.
ISO_14937 | Sterilization of health care products — General requirements for characterization of a sterilizing agent | ISO 14937:2009 | Global | Sterilization;VHP;Ozone;Liquid | Used for non-traditional agents like VHP or low-temp plasma.
ISO_8600-1 | Endoscopes — Medical endoscopes and endotherapy devices — Part 1: General requirements | ISO 8600-1:2015 | Global | Endoscopes;Surgical Instruments | Core requirements for visualization devices and fiber optics.
ISO_8637 | Cardiovascular implants and extracorporeal systems — Haemodialyzers, haemodiafilters, haemofilters | ISO 8637:2010 | Global | Dialysis Filters;Metrology;Assembly | Performance requirements for artificial kidney filters.
ISO_80601-2-13 | Medical electrical equipment — Part 2-13: Particular requirements for anesthesia systems | ISO 80601-2-13:2022 | Global | Anesthesia Machines;Respiratory | Safety requirements for anesthetic workstations and vaporizers.
ISO_80601-2-72 | Medical electrical equipment — Part 2-72: Particular requirements for home-care ventilators | ISO 80601-2-72:2015 | Global | Ventilators;Home Health | Safety for devices intended for use in non-professional settings.
IEC_60601-1-3 | Radiation protection in diagnostic X-ray equipment | IEC 60601-1-3:2008 | Global | X-Ray Systems;Cath Labs;Imaging | Requirements for filtration and stray radiation shielding.
ASTM_F2096 | Detecting Gross Leaks in Packaging by Internal Pressurization (Bubble Test) | ASTM F2096-11 | US | Packaging;Inspection;Sterile Barrier | PQ method for whole-pouch leak detection in water baths.
ASTM_F1140 | Standard Test Methods for Internal Pressurization Failure Resistance | ASTM F1140-13 | US | Packaging;Burst Testers;Assembly | Measures the failure point of unrestrained medical packages.
ASTM_F2054 | Burst Testing of Flexible Seals Using Internal Air Pressurization | ASTM F2054-13 | US | Packaging;Burst Testers;Sealing | PQ test for seal strength using restraining plates.
ASTM_F2095 | Pressure Decay Leak Test for Flexible Packages | ASTM F2095-07 | US | Packaging;Leak Testers;Assembly | Quantitative non-destructive leak testing for sterile barrier systems.
USP_85 | Bacterial Endotoxins Test (LAL) | USP <85> | US | Sterilization;Laboratory;HCT/Ps | Critical release testing for pyrogenicity in implants.
CLSI_AUTO16 | Next-Generation In Vitro Diagnostic Instrument Interface | CLSI AUTO16-Ed1 | US;Global | IVD Production;Software;LIMS | Connectivity and data exchange standards for lab analyzers.
ISO_11737-3 | Microbiological methods — Part 3: Guidance on evaluation and use of bioburden data | ISO 11737-3:2023 | Global | Sterilization;Bioburden;Validation | Guidance for interpreting microbial data in PQ stability.
ISO_14644-7 | Separative devices (clean air hoods, gloveboxes, isolators and mini-environments) | ISO 14644-7:2004 | Global | Isolators;Gloveboxes;HCT/Ps | Qualification requirements for physical barrier systems.
ISO_15883-4 | Washer-disinfectors for chemical disinfection of heat-sensitive endoscopes | ISO 15883-4:2018 | Global | Cleaning;Endoscope Reprocessors | Specific validation requirements for AERs (Automated Reprocessors).
ISO_11608-2 | Needle-based injection systems — Part 2: Double-ended needles | ISO 11608-2:2022 | Global | Needles;Pen Injectors;Assembly | Particular requirements for pen-injector interfaces.
ISO_11608-3 | Needle-based injection systems — Part 3: Containers and integrated fluid paths | ISO 11608-3:2022 | Global | Filling;Cartridges;Dosing | Safety for pre-filled drug cartridges in automated injectors.
ASTM_F2026 | Standard Specification for Polyetheretherketone (PEEK) Polymers for Surgical Implant Applications | ASTM F2026-17 | US | PEEK;Machining;Material Forming | Primary material specification for PEEK used in spinal fusion cages.
ASTM_F648 | Standard Specification for Ultra-High-Molecular-Weight Polyethylene for Surgical Implants | ASTM F648-21 | US | UHMWPE;Machining;Forming | Establishes limits for orthopedic bearing surfaces (acetabular liners).
ISO_5832-1 | Implants for surgery — Metallic materials — Part 1: Wrought stainless steel | ISO 5832-1:2016 | Global | Orthopedics;Machining;Material Prep | Standard chemistry and tensile requirements for 316L implantable steel.
ISO_5832-2 | Implants for surgery — Metallic materials — Part 2: Unalloyed titanium | ISO 5832-2:2018 | Global | Orthopedics;Machining;Material Forming | Specification for Commercially Pure (CP) titanium grades 1-4.
ISO_5832-3 | Implants for surgery — Metallic materials — Part 3: Wrought Ti 6-Al 4-V alloy | ISO 5832-3:2021 | Global | Orthopedics;Machining;Nitinol | The primary alloy for joint replacements and dental implants.
ASTM_F2082 | Standard Test Method for Determination of Transformation Temperature of Nitinol by BFR | ASTM F2082-15 | US | Nitinol;Material Forming;Metrology | The industry-standard "Bend and Free Recovery" method for verifying Af.
ASTM_F2063 | Standard Specification for Wrought Nickel-Titanium Shape Memory Alloys for Medical Devices | ASTM F2063-24 | US | Nitinol;Material Forming;Design | Establishes purity, chemistry, and transformation temp tolerances.
ASTM_F2516 | Standard Test Method for Tension Testing of Nickel-Titanium Superelastic Materials | ASTM F2516-22 | US | Nitinol;Material Forming;Lab | Defines the loading/unloading plateau measurements for stents.
ISO_14644-3 | Cleanrooms and associated controlled environments — Part 3: Test methods | ISO 14644-3:2019 | Global | Facilities;HVAC;Metrology | Includes recovery tests to verify how quickly rooms return to class.
ISO_14644-8 | Cleanrooms — Part 8: Assessment of air cleanliness by chemical concentration (ACC) | ISO_14644-8:2022 | Global | Facilities;Utilities;HCT/Ps | Critical for qualifying environments sensitive to volatile organics.
ISO_14644-9 | Cleanrooms — Part 9: Classification of surface cleanliness by particle concentration | ISO_14644-9:2022 | Global | Facilities;Inspection;Metrology | Standard for validating post-wash cleanliness levels of device parts.
ISO_14644-10 | Cleanrooms — Part 10: Classification of surface cleanliness by chemical concentration | ISO_14644-10:2022 | Global | Facilities;Cleaning;Metrology | Used to validate residual removal (TOC/NVR) on device surfaces.
ISO_14708-3 | Active implantable medical devices — Part 3: Implantable neurostimulators | ISO 14708-3:2017 | Global | Active Implants;Neurostimulators | Safety/performance for deep brain and spinal cord stimulators.
ISO_14708-4 | Active implantable medical devices — Part 4: Implantable infusion pumps | ISO 14708-4:2022 | Global | Active Implants;Infusion Pumps | Particular requirements for internal automated drug delivery.
ISO_14708-6 | Active implantable medical devices — Part 6: Hearing impairment devices | ISO 14708-6:2019 | Global | Active Implants;Cochlear Implants | Standards for qualifying internal hearing assist electronics.
ISO_14708-7 | Active implantable medical devices — Part 7: Implantable parts | ISO 14708-7:2019 | Global | Active Implants;Leads;Connectors | Specific benchmarks for patient-contact leads and headers.
ISO_11138-4 | Sterilization — Biological indicators — Part 4: Indicators for dry heat | ISO 11138-4:2017 | Global | Sterilization;Ovens;BIs | Specific requirements for B. atrophaeus challenge carriers.
ISO_11138-5 | Sterilization — Biological indicators — Part 5: Indicators for formaldehyde | ISO 11138-5:2017 | Global | Sterilization;BIs;Chemical | Benchmarks for indicators used in low-temp vapor processes.
AAMI_TIR35 | Sterilization — Radiation — Product adoption and alternative sampling plans | AAMI TIR35:2016 | US | Sterilization;Gamma;E-Beam | Guidance for qualifying new products into a validated dose.
AAMI_TIR40 | Sterilization — Radiation — Guidance on dose setting utilizing Method 2 | AAMI TIR40:2018 | US | Sterilization;Gamma;E-Beam | Statistical methodology for low-bioburden medical parts.
ISO_13408-7 | Aseptic processing of health care products — Part 7: Alternative processes for medical devices and combination products | ISO 13408-7:2012 | Global | Robotic Aseptic Filling;Isolators;IVD Production | Essential for qualifying non-traditional aseptic assembly lines.
USP_711 | Physical Tests — Dissolution | USP <711> | US | Dissolution Systems;Analytical Lab;Combination Products | Core benchmark for qualifying drug-release rates of eluting devices.
USP_921 | Chemical Tests — Water Determination | USP <921> | US | Karl Fischer Titrators;Analytical Lab;HCT/Ps | Standards for moisture analysis in lyophilized biological tissues.
USP_643 | Chemical Tests — Total Organic Carbon | USP <643> | US | TOC Analyzers;Utilities;WFI Systems | Defines limits for organic impurities in pharmaceutical-grade water.
ISO_14644-14 | Cleanrooms — Part 14: Assessment of suitability for use of equipment by airborne particle concentration | ISO 14644-14:2016 | Global | Cleanroom AGVs;Robotics;Conveyors | Mandatory for qualifying automated transport systems in classified areas.
ISO_11138-1 | Sterilization of health care products — Biological indicators — Part 1: General requirements | ISO 11138-1:2017 | Global | BIs;Sterilization;Incubators | Foundational requirements for challenge organisms used in PQ.
ISO_11138-2 | Sterilization of health care products — Biological indicators — Part 2: Indicators for ethylene oxide | ISO 11138-2:2017 | Global | EtO Chambers;Sterilization;Laboratory | Particular requirements for B. atrophaeus challenge carriers.
ISO_11138-3 | Sterilization of health care products — Biological indicators — Part 3: Indicators for moist heat | ISO 11138-3:2017 | Global | Autoclaves;Sterilization;Incubators | Particular requirements for G. stearothermophilus carriers.
ISO_11138-7 | Sterilization — Biological indicators — Part 7: Guidance for the selection, use and interpretation of results | ISO 11138-7:2019 | Global | Sterilization;Validation;Challenge | Replaces ISO 14161; critical for justifying 3-run PQ strategies.
ISO_11138-8 | Sterilization — Biological indicators — Part 8: Method for validation of a reduced incubation time | ISO 11138-8:2021 | Global | Sterilization;Incubators;Release | Standard for justifying shorter quarantine periods for sterile lots.
ISO_18472 | Sterilization — Biological and chemical indicators — Test equipment | ISO 18472:2018 | Global | Resistometers;Metrology;Lab | Requirements for the chambers used to characterize indicator D-values.
ISO_15883-4 | Washer-disinfectors for chemical disinfection of heat-sensitive endoscopes | ISO 15883-4:2018 | Global | AERs;Endoscope Reprocessors;Cleaning | Performance benchmarks for automated endoscope reprocessing units.
AAMI_ST91 | Flexible and semi-rigid endoscope processing in health care facilities | AAMI ST91:2021 | US | Endoscopes;Cleaning;Reprocessing | Comprehensive US guidelines for HLD and sterile storage.
AAMI_ST108 | Water for the processing of medical devices | AAMI ST108:2023 | US | Utilities;Cleaning;Reprocessing | Defines water quality for device rinsing and surgical tool finishing.
IEC_62353 | Medical electrical equipment — Recurrent test and test after repair | IEC 62353:2014 | Global | Active Devices;Safety Safety Safety safety analyzers;Metrology | Protocols for validating grounding paths and leakage on the floor.
ASTM_F2101 | Evaluating the Bacterial Filtration Efficiency (BFE) of Medical Face Mask Materials | ASTM F2101-25 | US | PPE;Masks;Laundering | Uses biological aerosols to qualify respiratory barrier levels.
ASTM_F1670 | Resistance of Materials Used in Protective Clothing to Penetration by Synthetic Blood | ASTM F1670-24a | US | PPE;Gowns;Cleanroom Suits | Mandatory test for qualifying surgical drapes and aseptic gear.
ASTM_F2407 | Standard Specification for Surgical Gowns Intended for Use in Healthcare Facilities | ASTM F2407-23a | US | PPE;Surgical Gowns;Forming | Performance levels for barriers based on liquid penetration risk.
ASTM_F3502 | Standard Specification for Barrier Face Coverings | ASTM F3502-25 | US | PPE;Masks;Environment | Requirements for non-medical masks used by production personnel.
ISO_11608-2 | Needle-based injection systems for medical use — Part 2: Double-ended needles | ISO 11608-2:2022 | Global | Pen Injectors;Needles;Therapeutic | Performance requirements for the automated needle-to-pen interface.
CLSI_EP05 | Evaluation of Precision of Quantitative Measurement Procedures | CLSI EP05-A3 | US;Global | IVD Production;Laboratory;Analyzers | Foundational for establishing within-site precision for diagnostic assays.
CLSI_EP06 | Evaluation of Linearity of Quantitative Measurement Procedures | CLSI EP06-Ed2 | US;Global | IVD Production;Laboratory;Analyzers | Guidance for validating the analytical measuring interval (AMI).
CLSI_EP07 | Interference Testing in Clinical Chemistry | CLSI EP07-Ed3 | US;Global | IVD Production;Laboratory;Reagents | Evaluates the effect of substances like lipids or drugs on test results.
CLSI_EP17 | Evaluation of Detection Capability for Clinical Laboratory Procedures | CLSI EP17-Ed2 | US;Global | IVD Production;Laboratory;Reagents | Standard for defining Limit of Blank (LoB), Detection (LoD), and Quantitation (LoQ).
CLSI_EP09 | Measurement Procedure Comparison and Bias Estimation Using Patient Samples | CLSI EP09-A3 | US;Global | IVD Production;Laboratory;Analyzers | Required for verifying bias when changing instruments or reagent lots.
CLSI_EP12 | Evaluation of Qualitative, Binary Output Examination Performance | CLSI EP12-A2 | US;Global | IVD Production;Laboratory;LFA | Methodology for validating "Yes/No" qualitative assays.
USP_232 | Elemental Impurities — Limits | USP | US | Biocomp;Materials;Analytical Lab | Sets PDE limits for toxic elements in medical components.
USP_233 | Elemental Impurities — Procedures | USP | US | Biocomp;Materials;Analytical Lab | Defines validation requirements for ICP-MS and ICP-OES procedures.
ICH_Q3D | Guideline for Elemental Impurities | ICH Q3D(R2) | Global | Biocomp;Risk Management;Materials | Harmonized global framework for controlling elemental contamination risk.
USP_858 | Raman Spectroscopy | USP | US | Metrology;Raw Material ID;Lab | Requirements for wavelength accuracy and linearity in Raman systems.
USP_1858 | Raman Spectroscopy — Theory and Practice | USP | US | Metrology;Raw Material ID;Lab | Informational guidance on scattering theory and chemometric models.
ASTM_F3127 | Validating Cleaning Processes Used During Manufacture of Medical Devices | ASTM F3127-16 | US | Cleaning;Washer-Disinfectors;Reprocessing | Provides a lifecycle approach to medical cleaning validation.
IPC_A_600 | Acceptability of Printed Boards | IPC-A-600K | Global | Electronics;PCBs;Active Implants | Visual and structural acceptance standards for bare medical circuit boards.
IPC_7530 | Guidelines for Temperature Profiling for Mass Soldering Processes | IPC-7530A | Global | Electronics;Reflow Ovens;Assembly | Methodology for establishing baseline profiles in SMT reflow ovens.
ASTM_F3320 | Coating Characterization of Drug Coated Balloons | ASTM F3320-18 | US | Cardiovascular;Coating;Balloons | Benchmark for validating drug load and particulate release consistency.
ISO_21474-2 | IVD medical devices — Multiplex molecular testing — Part 2: Validation | ISO 21474-2:2022 | Global | IVD Production;Molecular Testing | Requirements for simultaneous detection of multiple nucleic acid targets.
IEC_81001-5-1 | Health software and health IT systems — Part 5-1: Security | IEC 81001-5-1:2021 | Global | Software;Cybersecurity;IT Systems | First international standard for secure software development life cycles.
IEC_82304-1 | Health software — Part 1: General requirements for product safety | IEC 82304-1:2016 | Global | Software;Mobile Apps;Cloud Systems | Safety and validation requirements for standalone medical software (SaMD).
ASTM_E2859 | Size Measurement of Nanoparticles Using Atomic Force Microscopy | ASTM E2859-11 | US | Metrology;Nanotechnology;Implants | Used to qualify nano-scale surface features on osseointegrated implants.
21_CFR_892_2050 | Medical image management and processing system (MIMPS) | 21 CFR 892.2050 | US | Radiology;Imaging Systems;Software | FDA regulation for software used to store, transfer, and display images.
ISO_15004-1 | Ophthalmic instruments — Fundamental requirements and test methods — Part 1: General requirements | ISO 15004-1:2020 | Global | Ophthalmic;Design;Test Equipment | Core requirements for design, performance, and environmental conditions.
ISO_15004-2 | Ophthalmic instruments — Fundamental requirements and test methods — Part 2: Light hazard protection | ISO 15004-2:2024 | Global | Ophthalmic;Lasers;Safety | Benchmarks for optical radiation safety to prevent retinal damage.
ISO_80601-2-74 | Medical electrical equipment — Part 2-74: Particular requirements for respiratory humidifying equipment | ISO 80601-2-74:2021 | Global | Humidifiers;Ventilators;Respiratory | Safety/performance for humidifiers in invasive and non-invasive use.
ISO_21530 | Dentistry — Materials used for dental equipment surfaces — Determination of resistance to chemical disinfectants | ISO 21530:2004 | Global | Dental;Cleaning;Metrology | PQ method for validating surface durability against repeated cleaning.
ASTM_F2847 | Standard Practice for Reporting and Assessment of Residues on Single-Use Implants | ASTM F2847-17 | US | Implants;Cleaning;Forming | Protocol for qualifying surface cleanliness and manufacturing residuals.
ISO_22442-1 | Medical devices utilizing animal tissues — Part 1: Application of risk management | ISO 22442-1:2020 | Global | HCT/Ps;Biological Implants;Design | Risk framework for pathogens in animal-derived device components.
ISO_22442-2 | Medical devices utilizing animal tissues — Part 2: Controls on sourcing, collection and handling | ISO 22442-2:2020 | Global | HCT/Ps;Biological Implants;Sourcing | Mandatory requirements for the animal-origin supply chain.
ISO_22442-3 | Medical devices utilizing animal tissues — Part 3: Validation of virus/TSE inactivation | ISO 22442-3:2007 | Global | HCT/Ps;Biological Implants;Sterilization | Validation criteria for eliminating infectious agents from tissue.
ASTM_F2100 | Standard Specification for Performance of Materials Used in Medical Face Masks | ASTM F2100-23 | US | PPE;Masks;Laundering | Establishes the Level 1-3 barrier hierarchy for medical settings.
IEC_60601-2-40 | Particular requirements for basic safety and essential performance of electromyographs | IEC 60601-2-40:2024 | Global | EMG;Evoked Response;Neurology | Safety requirements for muscle and nerve monitoring equipment.
ISO_19223-2 | Lung ventilators and related equipment — Vocabulary — Part 2: High frequency and jet ventilation | ISO 19223-2:2025 | Global | Ventilators;Respiratory;Design | Standardized terminology for neonatal and critical care jet systems.
ISO_19223-3 | Lung ventilators and related equipment — Vocabulary — Part 3: Respiratory care | ISO 19223-3:2025 | Global | Ventilators;Respiratory;Design | General terminology framework for the respiratory therapy sector.
ISO_10993-2 | Biological evaluation of medical devices — Part 2: Animal welfare requirements | ISO 10993-2:2022 | Global | Biocompatibility;All;Laboratory | Ethical and scientific requirements for any necessary animal testing.
ISO_TR_10993-33 | Biological evaluation — Part 33: Guidance on tests to evaluate genotoxicity | ISO/TR 10993-33:2015 | Global | Biocompatibility;All;Laboratory | Supplemental report for interpreting complex genotoxicity data.
ASTM_F748 | Standard Practice for Selecting Generic Biological Test Methods for Materials and Devices | ASTM F748-25 | US | Biocompatibility;All;Laboratory | US framework for selecting biocomp tests commensurate with risk.
ASTM_F1984 | Standard Practice for Testing for Whole Complement Activation in Serum | ASTM F1984-25 | US | Biocompatibility;Implants;Materials | Evaluates the inflammatory response to solid device materials.
ASTM_F895 | Agar Diffusion Cell Culture Screening for Cytotoxicity | ASTM F895-25 | US | Biocompatibility;All;Laboratory | Standard method for qualifying the cytotoxicity of extractables.
ISO_11138-4 | Sterilization — Biological indicators — Part 4: Indicators for dry heat | ISO 11138-4:2017 | Global | Sterilization;Ovens;BIs | Specific requirements for B. atrophaeus challenge carriers.
ISO_11138-5 | Sterilization — Biological indicators — Part 5: Indicators for formaldehyde | ISO 11138-5:2017 | Global | Sterilization;BIs;Chemical | Benchmarks for low-temperature steam and formaldehyde indicators.
ISO_374-5 | Protective gloves against dangerous chemicals and micro-organisms | ISO 374-5:2016 | Global | PPE;Gloves;Forming | Core standard for validating the viral protection of medical gloves.
ISO_5840-1 | Cardiovascular implants — Cardiac valve prostheses — Part 1: General requirements | ISO 5840-1:2021 | Global | Heart Valves;Cardiovascular | Core safety and performance requirements for cardiac valve substitutes.
ISO_5840-2 | Cardiovascular implants — Cardiac valve prostheses — Part 2: Surgically implanted heart valve substitutes | ISO 5840-2:2021 | Global | Heart Valves;Surgical Implants | Performance benchmarks for valves implanted via traditional surgery.
ISO_5840-3 | Cardiovascular implants — Cardiac valve prostheses — Part 3: Heart valve substitutes implanted by transcatheter techniques | ISO 5840-3:2021 | Global | TAVI;TAVR;Interventional Cardiology | Specific benchmarks for minimally invasive heart valve replacements.
ISO_7206-4 | Implants for surgery — Partial and total hip joint prostheses — Part 4: Determination of endurance properties of stemmed femoral components | ISO 7206-4:2010 | Global | Hip Implants;Orthopedics;Fatigue Rigs | PQ test method for stemmed components under physiological cyclic load. [6, 7]
ISO_7206-6 | Implants for surgery — Partial and total hip joint prostheses — Part 6: Determination of endurance properties of head and neck region of stemmed femoral components | ISO 7206-6:2013 | Global | Hip Implants;Orthopedics;Mechanical Testing | Particular requirements for the femoral head-neck taper junction. [7]
ISO_7206-10 | Implants for surgery — Partial and total hip joint prostheses — Part 10: Determination of resistance to static load of modular femoral heads | ISO 7206-10:2018 | Global | Hip Implants;Modular Joints;Metrology | Static crush testing to qualify ceramic/metallic modular heads.
ASTM_F1875 | Standard Practice for Fretting Corrosion Testing of Modular Implant Interfaces: Hip Femoral Head-Bore and Cone Taper Interface | ASTM F1875-98 | US | Hip Implants;Orthopedics;Metrology | PQ method for assessing material loss at modular implant junctions. [7]
ASTM_F2009 | Standard Test Method for Determining the Axial Disassembly Force of Taper Connections of Modular Prostheses | ASTM F2009-20 | US | Orthopedic Implants;Modular Joints;Force Gauges | Mechanical benchmark for validating modular joint locking stability.
ISO_14242-1 | Implants for surgery — Wear of total hip-joint prostheses — Part 1: Loading and displacement parameters for wear-testing machines and corresponding environmental conditions for test | ISO 14242-1:2014 | Global | Hip Implants;Wear Simulators;Orthopedics | Defines the standardized gait cycle for qualifying joint bearing surfaces.
ISO_14242-2 | Implants for surgery — Wear of total hip-joint prostheses — Part 2: Methods of measurement | ISO 14242-2:2016 | Global | Hip Implants;Metrology;Lab | Gravimetric measurement protocols for assessing total mass loss. [6, 7]
ISO_14243-1 | Implants for surgery — Wear of total knee-joint prostheses — Part 1: Loading and displacement parameters for wear-testing machines with load control and corresponding environmental conditions for test | ISO 14243-1:2009 | Global | Knee Implants;Wear Simulators;Orthopedics | Simulation parameters for load-controlled knee joint simulators.
ISO_14243-2 | Implants for surgery — Wear of total knee-joint prostheses — Part 2: Methods of measurement | ISO 14243-2:2016 | Global | Knee Implants;Metrology;Lab | Gravimetric protocols for assessing tibial insert wear debris. [7]
ISO_21535 | Non-active surgical implants — Joint replacement implants — Specific requirements for hip-joint replacement implants | ISO 21535:2023 | Global | Hip Implants;Orthopedics;Design | Core requirements for marking and performance of hip systems. [8]
ISO_21536 | Non-active surgical implants — Joint replacement implants — Specific requirements for knee-joint replacement implants | ISO 21536:2023 | Global | Knee Implants;Orthopedics;Design | Core performance and safety benchmarks for all total knee systems. [8]
ASTM_F1264 | Standard Specification and Test Methods for Intramedullary Fixation Devices | ASTM F1264-16 | US | Orthopedic Trauma;Trauma Fixation;Machining | Governs the mechanical testing of orthopedic nails and rods. [7]
ASTM_F1717 | Standard Test Methods for Spinal Implant Constructs in a Vertebrectomy Model | ASTM F1717-21 | US | Orthopedics;Spinal Implants;Fatigue Rigs | Primary fatigue rig protocol for qualifying spinal fixation hardware. [9]
ASTM_F1798 | Standard Guide for Evaluating the Static and Fatigue Properties of Interconnection Mechanisms and Subassemblies Used in Spinal Arthrodesis Implants | ASTM F1798-13 | US | Spinal Implants;Fatigue Rigs;Assembly | Validation method for spinal clamps, plugs, and cross-links.
ASTM_F2193 | Standard Specifications and Test Methods for Components Used in the Surgical Fixation of the Spinal Skeletal System | ASTM F2193-20 | US | Spinal Implants;Machining;Forming | Performance benchmarks for spinal thin wires and cables. [9]
ISO_14801 | Dentistry — Implants — Dynamic loading test for endosseous dental implants | ISO 14801:2016 | Global | Dental Implants;Metrology;Fatigue Rigs | Defines the flexural fatigue challenge for qualifying dental screws. [9]
ISO_11070 | Sterile single-use intravascular introducers, dilators and guidewires | ISO 11070:2014 | Global | Catheters;Guidewires;Introducers | Technical requirements for vascular access device safety.
ISO_14117 | Active implantable medical devices — Electromagnetic compatibility — EMC test protocols | ISO 14117:2019 | Global | Active Implants;Lab;Product Testing | Protocols for qualifying pacer/defib immunity to EMI and magnetic fields. [Image 1]
ISO_IEEE_11073_10101 | Health informatics — Personal health device communication — Part 10101: Nomenclature | ISO/IEEE 11073-10101 | Global | Software;Patient Monitoring;Active Implants | Vital sign communication standards for interoperable clinical data devices. [Image 1]
ISO_TR_22979 | Ophthalmic implants — Intraocular Lenses — Guidance on clinical investigation of modifications | ISO/TR 22979:2017 | Global | IOLs;Ophthalmics;Clinical | Guidance for risk management of modified anterior/posterior chamber lenses. [; S_R450]
USP_232 | Elemental Impurities — Limits | USP | US | Biocomp;Materials;Analytical Lab | Sets Permitted Daily Exposure (PDE) limits for toxic elements in medical components.
USP_233 | Elemental Impurities — Procedures | USP | US | Biocomp;Materials;Analytical Lab | Defines validation requirements for ICP-MS and ICP-OES safety release procedures.
USP_858 | Raman Spectroscopy | USP | US | Metrology;Raw Material ID;Lab | Outlines requirements for wavelength accuracy and linearity in Raman systems.
USP_1858 | Raman Spectroscopy — Theory and Practice | USP | US | Metrology;Raw Material ID;Lab | Informational guidance on scattering theory and chemometric release models.
USP_1225 | Validation of Compendial Procedures | USP | US | Analytical Lab;Metrology | Requirements for proving analytical methods are accurate, precise, and specific.
ASTM_F3127 | Standard Guide for Validating Cleaning Processes Used During Medical Device Manufacture | ASTM F3127-16 | US | Cleaning;Washer-Disinfectors;Reprocessing | Provides a structured lifecycle approach to medical equipment cleaning validation.
ISO_12189 | Implants for surgery — Mechanical testing of spinal devices — Fatigue method with anterior support | ISO 12189:2008 | Global | Spinal Implants;Fatigue Rigs;Mechanical Testing | Standardized fatigue testing on flexible spinal assemblies mimicking gait.
ASTM_F2706 | Test Methods for Occipital-Cervical Spinal Implant Constructs in a Vertebrectomy Model | ASTM F2706-18 | US | Spinal Implants;Fatigue Rigs;Mechanical Testing | Evaluates static and dynamic properties of high-risk cervical spinal hardware.
ASTM_F2624 | Test Method for Static, Dynamic, and Wear Assessment of Extra-Discal Spinal Constructs | ASTM F2624-12 | US | Spinal Implants;Wear Simulators;Mechanical Testing | Evaluates mechanical integrity and wear debris of single-level disc constructs.
ASTM_F1223 | Standard Test Method for Determination of Total Knee Replacement Constraint | ASTM F1223-20 | US | Knee Implants;Mechanical Testing | Measures the stability and constraint of knee bearing surfaces under stress.
ASTM_F3334 | Practice for FEA of Metallic Orthopaedic Total Knee Tibial Components | ASTM F3334-19 | US | Knee Implants;FEA;Design | Computational modeling guidelines for knee component safety validation.
ASTM_F2033 | Standard Specification for Metal-on-Metal Hip Arthroplasty Bearings | ASTM F2033-20 | US | Hip Implants;Metrology;Surface Finish | Defines surface finish and tolerances for bearing surfaces to minimize wear.
ASTM_F2582 | Test Method for Dynamic Impingement Between Femoral and Acetabular Hip Components | ASTM F2582-20 | US | Hip Implants;Mechanical Testing | Evaluates the risk of component contact outside the intended bearing area.
ASTM_F3143 | determination of Frictional Torque and Friction Factor for Hip Replacement Bearings | ASTM F3143-20 | US | Hip Implants;Metrology;Mechanical Testing | Uses reciprocal friction simulators to quantify joint torque performance.
ASTM_F3738 | Hip Simulator Wear Testing Under Adverse Conditions Using Third-Body Particles | ASTM F3738-25 | US | Hip Implants;Wear Simulators;Mechanical Testing | Simulates the impact of third-body debris on joint longevity during PQ.
ISO_7207-1 | Implants for surgery — Components for knee prostheses — Part 1: Classification | ISO 7207-1:2007 | Global | Knee Implants;Orthopedics | Foundational classification for partial and total knee joint components.
ISO_7207-2 | Implants for surgery — Components for knee prostheses — Part 2: Articulating surfaces | ISO 7207-2:2025 | Global | Knee Implants;Orthopedics | Specifies material-specific requirements for joint bearing interfaces.
IEC_60601-2-26 | Medical electrical equipment — Part 2-26: Particular requirements for the basic safety and essential performance of electroencephalographs | IEC 60601-2-26:2012 | Global | EEG; Neurology; Diagnostic | Particular safety for brain-activity recording hardware.
IEC_60601-2-40 | Medical electrical equipment — Part 2-40: Particular requirements for the basic safety and essential performance of electromyographs | IEC 60601-2-40:2024 | Global | EMG; Neurology; Monitoring | Safety for nerve-conduction and muscle monitor hardware.
IEC_60601-2-50 | Medical electrical equipment — Part 2-50: Particular requirements for basic safety of infant phototherapy equipment | IEC 60601-2-50:2020 | Global | Phototherapy; Neonatal; Therapeutic | Safety for blue-light therapy in bilirubin reduction.
IEC_60601-2-19 | Medical electrical equipment — Part 2-19: Particular requirements for basic safety of infant incubators | IEC 60601-2-19:2020 | Global | Incubators; Neonatal; Environment | Safety requirements for neonatal thermoregulation systems.
IEC_60601-2-20 | Medical electrical equipment — Part 2-20: Particular requirements for safety of infant transport incubators | IEC 60601-2-20:2020 | Global | Transport Incubators; EMS; Neonatal | Safety requirements for mobile neonatal care units.
IEC_60601-2-21 | Medical electrical equipment — Part 2-21: Particular requirements for safety of infant radiant warmers | IEC 60601-2-21:2020 | Global | Radiant Warmers; Neonatal; Therapeutic | Safety for open-bed thermoregulation systems.
IEC_60601-2-35 | Medical electrical equipment — Part 2-35: Particular requirements for basic safety of heating blankets/pads | IEC 60601-2-35:2023 | Global | Heating Blankets; Therapeutic; Warming | Particular safety for preventing thermal injury during surgery.
IEC_60601-2-52 | Medical electrical equipment — Part 2-52: Particular requirements for basic safety of medical beds | IEC 60601-2-52:2015 | Global | Medical Beds; Facilities; Patient Handling | Safety requirements for motorized hospital bed systems.
IPC_7801 | Reflow Oven Process Control Standards | IPC-7801A | Global | Electronics; Reflow Ovens; Assembly | Standardizes periodic verification of reflow profile repeatability.
IPC_7351 | Generic Requirements for Surface Mount Design and Land Pattern Standard | IPC-7351B | Global | Electronics; PCBs; Design | Guidelines for medical device circuit board pad configurations.
IPC_7525 | Stencil Design Guidelines | IPC-7525B | Global | Electronics; Solder Paste Printers | Benchmarks for aperture designs in medical SMT stencils.
ISO_3696 | Water for analytical laboratory use — Specification and test methods | ISO 3696:1987 | Global | Laboratory; Reagents; Utilities | Global benchmark for reagent-grade water quality.
ISO_4787 | Laboratory glassware — Volumetric instruments — Methods for testing of capacity and for use | ISO 4787:2010 | Global | Laboratory; Metrology; Calibration | Procedures for qualifying the accuracy of lab measurement vessels.
EN_1822 | High efficiency air filters (EPA, HEPA and ULPA) — Part 1: Classification, performance testing and marking | EN 1822-1:2019 | Global | HEPA Filters; HVAC; Cleanrooms | Filter efficiency benchmarks for cleanroom air supply.
EN_14476 | Chemical disinfectants and antiseptics — Quantitative suspension test for virucidal activity in the medical area | EN 14476:2013 | Global | Sterilization; Cleaning; Laboratory | Methodology for evaluating the viral kill rate of disinfectants.
EN_14348 | Chemical disinfectants and antiseptics — Quantitative suspension test for mycobactericidal activity | EN 14348:2005 | Global | Sterilization; Cleaning; Reprocessing | Test method for high-level disinfectants used on instruments.
EN_16777 | Chemical disinfectants and antiseptics — Quantitative non-porous surface test for virucidal activity | EN 16777:2018 | Global | Facilities; Cleaning; Decontamination | Validates virucidal activity on non-porous cleanroom surfaces.
ASTM_F1223 | Standard Test Method for Determination of Total Knee Replacement Constraint | ASTM F1223-20 | US | Knee Implants; Mechanical Testing | Measures the stability of knee bearing surfaces under stress.
ASTM_F3334 | Standard Practice for Finite Element Analysis (FEA) of Metallic Orthopaedic Total Knee Tibial Components | ASTM F3334-19 | US | Knee Implants; FEA; Design | Computational modeling guidelines for knee component safety.
ISO_14879_1 | Implants for surgery — Total knee-joint prostheses — Part 1: Determination of endurance properties of knee tibial trays | ISO 14879-1:2020 | Global | Orthopedics; Knee Implants | Particular requirements for the fatigue resistance of tibial bases.
ICH_Q1A | Stability Testing of New Drug Substances and Products | ICH Q1A(R2) | Global | Stability Chambers;Reagents;Storage | Defines the 3D mapping and loaded-condition benchmarks for aging ovens.
ICH_Q3C | Impurities: Guideline for Residual Solvents | ICH Q3C(R8) | Global | Analytical Lab;Materials;HCT/Ps | Critical for qualifying the sensitivity of GC-MS systems used for residuals.
J_STD_020 | Moisture/Reflow Sensitivity Classification for Nonhermetic Surface Mount Devices | IPC/JEDEC J-STD-020F | Global | Electronics;Reflow Ovens;Assembly | Used to qualify peak temperature limits during SMT reflow OQ.
J_STD_002 | Solderability Tests for Component Leads, Terminations, Lugs, Terminals and Wires | J-STD-002E | Global | Electronics;Metrology;Soldering | Standard for "dip and look" tests to qualify incoming active components.
ASTM_F2193 | Standard Specifications and Test Methods for Components Used in Spinal Fixation | ASTM F2193-20 | US | Spinal Implants;Machining;Forming | Performance benchmarks for qualifying spinal thin wires and cables.
ISO_18489 | Polyethylene for joint replacements — Mechanical testing of bearing surfaces | ISO 18489:2015 | Global | Orthopedics;Joint Wear;Mechanical Testing | Particular requirements for fatigue resistance of joint bearing interfaces.
ASTM_F2978 | Guide to Optimize Scan Sequences for Diagnostic Evaluation of Hip Arthroplasty | ASTM F2978-20 | US | Hip Implants;MRI;Radiology | Guidance for qualifying MRI hardware settings for patients with metal implants.
ANSI_ISEA_Z87_1 | Occupational and Educational Personal Eye and Face Protection Devices | ANSI/ISEA Z87.1-2025 | US | PPE;Production Safety;Environment | Standard for qualifying safety glasses and shields used in manufacturing.
IEC_62443_4_1 | Security for industrial automation and control systems — Part 4-1: Secure product development lifecycle | IEC 62443-4-1:2018 | Global | Software;Active Implants;IT Systems | Foundational requirements for the cybersecurity OQ of automated systems.
CGA_V_1 | Standard for Compressed Gas Cylinder Valve Outlet and Inlet Connections | CGA V-1:2019 | US | Gas Cylinders;Utilities;Manifolds | Safety benchmarks to prevent the inadvertent substitution of medical gases.
CGA_V_5 | Diameter Index Safety System (Noninterchangeable Low Pressure Connections) | CGA V-5:2019 | US | Anesthesia;Resuscitation;Utilities | Critical for qualifying connections in anesthesia/respiratory workstations.
ISBT_128 | Standard Terminology, Identification and Labeling of Medical Products of Human Origin | ISBT-128 Rev 6 | Global | HCT/Ps;Labeling;Traceability | Globally recognized system for donor-to-recipient traceability in HCT/Ps.
ASTM_D6653 | Determining the Effects of High Altitude on Packaging Systems by Vacuum Method | ASTM D6653-13 | US | Packaging;Logistics;Vacuum Chambers | PQ method for validating sterile barrier integrity during air transport.
ISO_20391-1 | Biotechnology — Cell counting — Part 1: General guidance on cell counting methods | ISO 20391-1:2018 | Global | HCT/Ps;Laboratory;Cell Counters | Requirements for qualifying automated counting and viability algorithms.
ASTM_F3335 | Assessing the Removal of Additive Manufacturing Residues in Medical Devices | ASTM F3335-20 | US | Orthopedic Implants;Additive Mfg;Finishing | Specific guidance for qualifying the cleaning of 3D-printed porous implants.
ASTM_F3357 | Standard Guide for Designing Reusable Medical Devices for Cleanability | ASTM F3357-19 | US | Reusable Devices;Cleaning;Reprocessing | Design-phase benchmarks that inform the PQ of automated washer-disinfectors.
ASTM_F3438 | Detection and Quantification of Cleaning Markers for Validation of Cleaning Methods | ASTM F3438-24 | US | Cleaning;Surgical Instruments;Reprocessing | Standard for validating marker-detection LODs on surgical tool surfaces.
ASTM_F640 | Standard Test Methods for Determining Radiopacity for Medical Use | ASTM F640-23 | US | All Implants;Radiology;Metrology | PQ method for validating the visibility of markers under X-ray/Fluoroscopy.
ISO_19227 | Implants for surgery — Cleanliness of orthopedic implants — General requirements | ISO 19227:2018 | Global | Orthopedic Implants;Cleaning;Lab | Mandatory criteria for verifying residual removal on chronic implants.
ASTM_F2028 | Standard Test Methods for Dynamic Evaluation of Glenoid Loosening | ASTM F2028-25a | US | Shoulder Implants;Mechanical Testing;Metrology | Critical fatigue rig protocol for qualifying reverse shoulder prostheses.
ISO_13356 | Implants for surgery — Ceramic materials based on yttria-stabilized tetragonal zirconia (Y-TZP) | ISO 13356:2015 | Global | Orthopedics;Ceramic Implants;Furnaces | Establishes the material strength and phase purity benchmarks for high-risk ceramics.
ISO_18562-1 | Biocompatibility evaluation of breathing gas pathways — Part 1: Evaluation and testing within a risk management process | ISO 18562-1:2024 | Global | Ventilators;Anesthesia;Breathing Circuits | Mandatory framework for evaluating the safety of air-pathway materials.
ISO_18562-2 | Biocompatibility evaluation of breathing gas pathways — Part 2: Tests for emissions of particulate matter | ISO 18562-2:2024 | Global | Ventilators;CPAP;Lab | Methodology for qualifying the particle-shedding risk of respiratory devices.
ISO_18562-3 | Biocompatibility evaluation of breathing gas pathways — Part 3: Tests for emissions of volatile organic compounds (VOCs) | ISO 18562-3:2024 | Global | Ventilators;Anesthesia;Lab | Standard for validating VOC outgassing levels from manifolds and masks.
ISO_18562-4 | Biocompatibility evaluation of breathing gas pathways — Part 4: Tests for leachables in condensate | ISO 18562-4:2024 | Global | Ventilators;Humidifiers;Lab | Methodology for identifying hazardous chemicals in the moisture-path.
ASTM_F1608 | Standard Test Method for Microbial Ranking of Porous Packaging Materials | ASTM F1608-21 | US | Packaging;Sterile Barrier;Metrology | Evaluates the performance of Tyvek/paper as a microbial barrier.
ISTA_3A | Packaged-Products for Parcel Delivery System Shipment 70kg (150 lb) or Less | ISTA 3A | US;Global | Packaging;Logistics;Validation | Common alternative to ASTM D4169 for validating individual parcel shippers.
ISO_14160 | Sterilization — Liquid chemical sterilizing agents for single-use devices utilizing animal tissues | ISO 14160:2020 | Global | Sterilization;HCT/P Processing;Animal Tissues | Validation criteria for non-thermal sterilization of biological grafts.
ISO_11145 | Optics and photonics — Lasers and laser-related equipment — Vocabulary and symbols | ISO 11145:2018 | Global | Laser Welders;Cutting Systems;Markers | Standardized terminology for qualifying laser machine capabilities.
ISO_11553-1 | Safety of machinery — Laser processing machines — Part 1: General safety requirements | ISO 11553-1:2020 | Global | Laser Welders;Cutting Systems;Machining | Core safety standard for automated laser manufacturing workcells.
ISO_11553-2 | Safety of machinery — Laser processing machines — Part 2: Safety requirements for hand-held laser devices | ISO 11553-2:2007 | Global | Handheld Lasers;Welding;Finishing | Specific safety benchmarks for operator-guided laser tools.
ISO_13849-1 | Safety of machinery — Safety-related parts of control systems — Part 1: General principles | ISO 13849-1:2023 | Global | CNC Machining;Robotics;Conveyors | Outlines the "Performance Level" (PL) requirements for equipment interlocks.
ISO_13850 | Safety of machinery — Emergency stop function — Principles for design | ISO 13850:2015 | Global | All Production Equipment;Integration | Benchmarks for qualifying E-stop response times and actuation logic.
ISO_14119 | Safety of machinery — Interlocking devices associated with guards | ISO 14119:2013 | Global | CNC Machining;Automation;Forming | Principles for selecting and qualifying door/guard interlock hardware.
ISO_13857 | Safety of machinery — Safety distances to prevent hazard zones being reached | ISO 13857:2019 | Global | Robotics;Automation;Conveyors | OQ criteria for physical guarding and reach zones on the production floor.
ISO_12100 | Safety of machinery — General principles for design — Risk assessment | ISO 12100:2010 | Global | All Production Equipment;Design | Foundational standard for conducting equipment-level safety risk analyses.
EN_60204-1 | Safety of machinery — Electrical equipment of machines — Part 1: General requirements | EN 60204-1:2018 | Global | CNC Machining;Electronics;Assembly | Core electrical safety standard for industrial manufacturing hardware.
ISO_20391-2 | Biotechnology — Cell counting — Part 2: Experimental design and statistical analysis | ISO 20391-2:2019 | Global | HCT/P;Lab;Cell Counters | Requirements for quantifying the performance of automated cell counters.
ISO_17327-1 | Non-active surgical implants — Implant coating — Part 1: General requirements | ISO 17327-1:2018 | Global | Implants;Coating Lines;HA Sprayers | High-level benchmarks for adhesion, chemistry, and surface coverage.
ISO_18250-1 | Connectors for reservoir delivery systems — Part 1: General requirements | ISO 18250-1:2018 | Global | Infusion;Connectors;Feeding Lines | Specific framework for prevents misconnections in delivery sets.
ISO_13854 | Safety of machinery — Minimum gaps to avoid crushing of parts of the human body | ISO 13854:2017 | Global | Robotics;Automation;Assembly | OQ benchmark for validating physical safety clearance in workcells.
ISO_13855 | Safety of machinery — Positioning of safeguards with respect to approach speeds | ISO 13855:2010 | Global | Robotics;Automation;Guarding | Defines light-curtain and laser-scanner placement logic for OQ.
ISO_14120 | Safety of machinery — Guards — General requirements for design and construction | ISO 14120:2015 | Global | CNC Machining;Robotics;Forming | Criteria for qualifying fixed and movable equipment enclosures.
ISO_11139 | Sterilization of health care products — Vocabulary of terms used in sterilization | ISO 11139:2018 | Global | Sterilization;All | Foundational terminology for cycle development and PQ reporting.
ISO_15882 | Chemical indicators — Guidance for selection, use and interpretation of results | ISO 15882:2008 | Global | Sterilization;Validation | Technical requirements for qualifying Type 1-6 indicator use in PQ.
AAMI_TIR35 | Radiation sterilization — Product adoption and alternative sampling plans | AAMI TIR35:2016 | US | Sterilization;Gamma;E-Beam | Guidance for qualifying new parts into a validated radiation dose.
AAMI_TIR37 | Radiation — Guidance on sterilization of human tissue-based products | AAMI TIR37:2013 | US | Sterilization;HCT/Ps;Biologicals | Particular dosimetry benchmarks for biological graft sterilization.
AAMI_TIR40 | Radiation — Guidance on dose setting utilizing a Modified Method 2 | AAMI TIR40:2018 | US | Sterilization;Gamma;E-Beam | Statistical methodology for qualifying low-bioburden medical parts.
AAMI_TIR76 | Radiation — Substantiation of selected dose: Method Vdmax SD-S | AAMI TIR76:2021 | US | Sterilization;Gamma;E-Beam | Protocol for validating doses for small batch or single-use kits.
ASTM_F3335 | Assessing removal of additive manufacturing residues in medical devices | ASTM F3335-20 | US | Orthopedic Implants;Additive Mfg;Finishing | Specific guidance for qualifying cleaning of 3D-printed porous parts.
ASTM_F3357 | Standard Guide for Designing Reusable Medical Devices for Cleanability | ASTM F3357-19 | US | Reusable Devices;Cleaning;Reprocessing | Design benchmarks that inform PQ of automated washer-disinfectors.
ASTM_F3438 | Detection and quantification of cleaning markers for validation of methods | ASTM F3438-24 | US | Cleaning;Surgical Instruments;Reprocessing | Standard for validating marker-detection limits on device surfaces.
ASTM_F640 | Standard Test Methods for Determining Radiopacity for Medical Use | ASTM F640-23 | US | All Implants;Radiology;Metrology | PQ method for validating marker visibility under X-ray/Fluoroscopy.
ASTM_F732 | Wear testing of polymeric materials used in total joint prostheses | ASTM F732-17 | US | Orthopedics;Implants;Material Lab | Evaluates long-term material wear debris (PEEK/UHMWPE).
ASTM_F746 | Pitting or crevice corrosion of metallic surgical implant materials | ASTM F746-04 | US | Orthopedics;Machining;Material Lab | Standard for qualifying corrosion susceptibility of metallic alloys.
ASTM_F897 | Measuring fretting corrosion of osteosynthesis plates and screws | ASTM F897-19 | US | Orthopedics;Implants;Metrology | Benchmark for material loss at the plate/screw mechanical interface.
ASTM_F1044 | Shear testing of calcium phosphate and metallic coatings | ASTM F1044-25 | US | Orthopedics;HA Sprayers;Sintering | Measures static shear resistance of surface/substrate interfaces.
ASTM_F1089 | Standard Test Method for Corrosion of Surgical Instruments | ASTM F1089-24 | US | Surgical Instruments;Cleaning;Finishing | Protocol for qualifying instrument resistance to reprocessing.
ASTM_F3141 | Standard Guide for Total Knee Replacement Loading Profiles | ASTM F3141-23 | US | Knee Implants;Mechanical Testing | Gait cycle benchmarks for qualifying knee arthroplasty systems.
ISO_8828 | Implants for surgery — Guidance on care and handling of orthopedic implants | ISO 8828:2014 | Global | Orthopedic Implants;Servicing;Storage | Requirements for maintaining implant integrity during handling.
ISO_25539-4 | Cardiovascular implants — Endovascular devices — Part 4: Application of coatings | ISO 25539-4:2024 | Global | Stents;Grafts;Coating Lines | Requirements for characterizing drug-polymer and bioactive coatings.
ISO_5840-4 | Cardiovascular implants — Cardiac valve prostheses — Part 4: Clinical evaluation | ISO 5840-4:2021 | Global | Heart Valves;Surgical Implants;Clinical | Methodology for validating clinical endpoints for valve replacements.
ISO_14242-3 | Implants for surgery — Wear of total hip-joint prostheses — Part 3: Loading and displacement parameters | ISO 14242-3:2009 | Global | Hip Implants;Wear Simulators;Metrology | Defines orbital bearing motion profiles for joint wear validation.
ISO_14243-1 | Implants for surgery — Wear of total knee-joint prostheses — Part 1: Loading and displacement parameters | ISO 14243-1:2022 | Global | Knee Implants;Wear Simulators;Metrology | Gat cycle simulation for load-controlled knee joint simulators.
ISO_14243-2 | Implants for surgery — Wear of total knee-joint prostheses — Part 2: Methods of measurement | ISO 14243-2:2016 | Global | Knee Implants;Metrology;Laboratory | Gravimetric protocols for assessing tibial insert mass loss.
ASTM_F1798 | Standard Guide for Evaluating Interconnection Mechanisms in Spinal Arthrodesis | ASTM F1798-24 | US | Spinal Implants;Fatigue Rigs;Assembly | PQ method for validating spinal clamps, plugs, and cross-links.
ISO_10555-2 | Intravascular catheters — Part 2: Angiographic catheters | ISO 10555-2:2013 | Global | Catheters;Imaging;Interventional | Specific requirements for catheters used in contrast delivery.
ISO_10555-6 | Intravascular catheters — Part 6: Subcutaneous implanted ports | ISO 10555-6:2023 | Global | Catheters;Implants;Oncology | Requirements for power-injectable ports and septum integrity.
ISO_10555-7 | Intravascular catheters — Part 7: Peripherally inserted central catheters (PICC) | ISO 10555-7:2023 | Global | PICC Lines;Catheters;Vascular | Particular safety and performance benchmarks for PICC systems.
ISO_10555-8 | Intravascular catheters — Part 8: Extracorporeal blood treatment catheters | ISO 10555-8:2024 | Global | Dialysis Catheters;Extracorporeal;Therapeutic | Standards for high-flow hemodialysis and apheresis catheters.
ISO_14644-12 | Cleanrooms — Part 12: Specifications for air cleanliness by nano-scale particle concentration | ISO 14644-12:2021 | Global | Facilities;Nanotechnology;Cleanrooms | Requirements for environments sensitive to particles < 100nm.
ISO_14644-15 | Cleanrooms — Part 15: Assessment of suitability of equipment by chemical concentration | ISO 14644-15:2017 | Global | Facilities;Utilities;Metrology | Validates that equipment outgassing does not exceed chemical limits.
ISO_14698-3 | Cleanrooms — Biocontamination control — Part 3: Efficiency of disinfection | ISO 14698-3:2003 | Global | Facilities;Cleaning;Decon | Standardized methodology for measuring surface disinfection efficiency.
ASTM_D7386 | Practice for Performance Testing of Packages for Single Parcel Delivery Systems | ASTM D7386-16 | US | Packaging;Logistics;Validation | PQ protocol for validating sterile kits shipped via individual carriers.
ASTM_D6653 | Determining the Effects of High Altitude on Packaging Systems by Vacuum Method | ASTM D6653-13 | US | Packaging;Logistics;PQ Studies | PQ method for validating seal integrity during air transport cycles.
CLSI_EP09 | Measurement Procedure Comparison and Bias Estimation Using Patient Samples | CLSI EP09-A3 | US;Global | IVD Production;Laboratory;Analyzers | Validates bias when changing IVD instruments or reagent lots.
CLSI_EP12 | User Protocol for Evaluation of Qualitative Binary Output Examination Performance | CLSI EP12-A2 | US;Global | IVD Production;LFA;Laboratory | Methodology for validating "Yes/No" qualitative diagnostic assays.
CLSI_EP15 | User Verification of Precision and Estimation of Bias | CLSI EP15-A3 | US;Global | IVD Production;Laboratory;Analyzers | Protocols for end-user labs to verify assay precision claims.
CLSI_EP21 | Estimation of Total Analytical Error for Clinical Laboratory Measurements | CLSI EP21-A | US;Global | IVD Production;Laboratory;Metrology | Combines bias and precision to validate total allowable error (TAE).
CLSI_EP34 | Establishing and Verifying an Extended Measuring Interval | CLSI EP34-A | US;Global | IVD Production;Laboratory;Reagents | Standard for validating dilution and spiking for high-concentration tests.
ISO_11040_4 | Prefilled syringes — Part 4: Glass barrels for injectables | ISO 11040-4:2015 | Global | Syringes;Filling;Packaging | Requirements for glass primary containers for sterile injectables.
ISO_11040_6 | Prefilled syringes — Part 6: Plastic barrels for injectables | ISO 11040-6:2019 | Global | Syringes;Filling;Combination Products | Particular requirements for plastic primary containers for sterile injectables.
ISO_7886_3 | Sterile hypodermic syringes for single use — Part 3: Auto-disable syringes | ISO 7886-3:2020 | Global | Syringes;Assembly;Forming | Performance for immunization syringes with re-use prevention features.
ISO_7886_4 | Sterile hypodermic syringes for single use — Part 4: Re-use prevention feature | ISO 7886-4:2018 | Global | Syringes;Assembly;Product Testing | Safety requirements for syringes with manual or automatic re-use prevention.
ISO_8536_4 | Infusion equipment for medical use — Part 4: Infusion sets, gravity feed | ISO 8536-4:2019 | Global | Infusion;Connectors;Catheters | Safety/performance for gravity-based drug delivery systems.
ISO_1135_4 | Transfusion equipment for medical use — Part 4: Transfusion sets, gravity feed | ISO 1135-4:2025 | Global | Transfusion Kits;IVD;HCT/Ps | Standards for gravity-based blood and fluid delivery systems.
IEC_60601_2_1 | Medical electrical equipment — Part 2-1: Particular requirements for electron accelerators | IEC 60601-2-1:2020 | Global | Radiotherapy;X-ray Generators;Testing | Safety requirements for accelerators in the 1 MeV to 50 MeV range.
IEC_60601_2_6 | Medical electrical equipment — Part 2-6: Particular requirements for microwave therapy | IEC 60601-2-6:2016 | Global | Therapeutic;Microwave Systems;Lab | Safety for devices used in thermal and radiological therapy.
IEC_80601_2_58 | Medical electrical equipment — Part 2-58: Particular requirements for lens removal | IEC 80601-2-58:2024 | Global | Ophthalmic;Lens Lathes;Surgery | Safety for active devices used in phacoemulsification and vitreous surgery.
IEC_60601_2_75 | Medical electrical equipment — Part 2-75: Particular requirements for photodynamic therapy | IEC 60601-2-75:2017 | Global | Therapeutic;Lasers;Dermatology | Safety for equipment used in diagnostic or therapeutic light activation.
ISO_14937 | Sterilization — General requirements for sterilizing agent characterization | ISO 14937:2009 | Global | Sterilization;VHP;Ozone;Liquid | Requirements for qualifying non-traditional sterilizing agents.
ISO_11138_8 | Sterilization — Biological indicators — Part 8: Reduced incubation time validation | ISO 11138-8:2021 | Global | Sterilization;Validation;Incubators | Protocol for justifying 24-hour versus 7-day challenge results.
ISO_11737_3 | Sterilization — Microbiological methods — Part 3: Guidance on use of bioburden data | ISO 11737-3:2023 | Global | Sterilization;Bioburden;Validation | Guidance for interpreting and trending microbial counts in PQ stability.
ISO_15583 | Washer-disinfectors — Series Foundation | ISO 15583:2010 | Global | Cleaning;Washer-Disinfectors;Reprocessing | High-level series title covering decontamination system requirements. [Image 1]
ISO_11139 | Sterilization of health care products — Vocabulary | ISO 11139:2018 | Global | Sterilization;All | Standardized terms and definitions used across sterility assurance.
ISO_15882 | Chemical indicators — Guidance for selection, use and interpretation of results | ISO 15882:2008 | Global | Sterilization;Validation;Indicators | Technical requirements for qualifying Type 1-6 indicator use in PQ cycles.
AAMI_TIR37 | Radiation — Guidance on sterilization of human tissue-based products | AAMI TIR37:2013 | US | Sterilization;HCT/Ps;Biologicals | Particular dosimetry benchmarks for biological graft sterilization.
AAMI_TIR76 | Radiation — Substantiation of dose: Method Vdmax SD-S | AAMI TIR76:2021 | US | Sterilization;Gamma;E-Beam | Protocol for validating doses for small batch or single-use kits.
AAMI_TIR102 | U.S. FDA 21 CFR mapping to ISO 13485:2016 requirements | AAMI TIR102:2019 | US | Management;Quality Systems | Comprehensive mapping tool for transition from QSR to QMSR.
AAMI_PB70 | Liquid barrier performance and classification of protective apparel | AAMI PB70:2022 | US | PPE;Gowns;Cleanroom Suits | Establishes Level 1-4 barrier benchmarks for healthcare textiles.
ISO_25539_1 | Cardiovascular implants — Endovascular devices — Part 1: Endovascular prostheses | ISO 25539-1:2017 | Global | Stent-grafts;Aortic Grafts | Core requirements for aortic and peripheral graft systems.
ISO_25539_2 | Cardiovascular implants — Endovascular devices — Part 2: Vascular stents | ISO 25539-2:2020 | Global | Stents;Nitinol;Cardiovascular | Specific benchmarks for bare metal and drug-eluting vascular stents.
ISO_25539_3 | Cardiovascular implants — Endovascular devices — Part 3: Vena cava filters | ISO 25539-3:2011 | Global | VC Filters;Embolic Protection | Benchmarks for implantable filters used to prevent pulmonary embolism.
ASTM_F2081 | Standard Guide for Characterization and Presentation of the Dimensional Attributes of Stents | ASTM F2081-06 | US | Stents;Metrology;Metrology | Methodology for measuring stent diameter, length, and wall thickness.
ASTM_F2606 | Standard Guide for Three-Point Bending of Balloon-Expandable Vascular Stents | ASTM F2606-08 | US | Stents;Mechanical Testing | Measures the flexural rigidity of the stent and its delivery system.
ASTM_F2942 | Standard Guide for In vitro Axial, Bending, and Torsional Durability Testing | ASTM F2942-19 | US | Vascular Stents;Fatigue Rigs | Provides protocols for accelerated long-term durability testing.
ISO_15609_4 | Specification and qualification of welding procedures for metallic materials — Part 4: Laser beam welding | ISO 15609-4:2009 | Global | Laser Welders;Active Implants;Assembly | Standardizes WPS for medical laser joining processes.
ISO_13919_1 | Welding — Electron and laser-beam welded joints — Part 1: Steel, nickel, and titanium | ISO 13919-1:2019 | Global | Laser Welders;Surgical Tools;Implants | Defines permissible imperfection levels for high-quality welds.
IEC_62443_4_1 | Security for industrial automation and control systems — Part 4-1: Secure product development lifecycle | IEC_62443_4_1:2018 | Global | Software;Active Implants;IT Systems | Foundational requirements for the cybersecurity OQ of automated systems.
21_CFR_892_2050 | Medical image management and processing system (MIMPS) | 21 CFR 892.2050 | US | Radiology;Imaging Systems;Software | FDA regulation for software used to store, transfer, and display images.
ISO_11608_4 | Needle-based injection systems for medical use — Part 4: Needles — Requirements and test methods | ISO 11608-4:2022 | Global | Needles;Pen Injectors;Therapeutic | Performance requirements for needles intended for automated injectors.
ISO_11608_5 | Needle-based injection systems for medical use — Part 5: Automated functions | ISO 11608-5:2022 | Global | Pen Injectors;Autoinjectors;Therapeutic | Safety requirements for needle extension and retraction logic.
ISO_15708_3 | Non-destructive testing — Radiation methods — Computed tomography — Part 3: Interpretation and reporting | ISO 15708-3:2017 | Global | Metrology;CT Scanners;Inspection | Guidelines for axial CT scanning and volumetric flaw detection.
ISO_18369_1 | Ophthalmic optics — Contact lenses — Part 1: Vocabulary and classification system | ISO 18369-1:2017 | Global | Ophthalmics;Contact Lenses;Labeling | Core standard for the manufacture and physical testing of contact lenses.
ISO_10993_19 | Biological evaluation — Part 19: Physico-chemical, morphological and topographical characterization | ISO 10993-19:2020 | Global | Biocompatibility;All;Laboratory | Governs the evaluation of surface characteristics on medical materials.
ISO_10993_16 | Biological evaluation — Part 16: Toxicokinetic study design for degradation products and leachables | ISO 10993-16:2017 | Global | Biocompatibility;All;Laboratory | Specifies how to track the movement of device leachables in the body.
ISO_10993_20 | Biological evaluation — Part 20: Principles and methods for immunotoxicology testing | ISO 10993-20:2006 | Global | Biocompatibility;All;Laboratory | Framework for identifying materials that cause immune system suppression.
ASTM_F3320 | Coating Characterization of Drug Coated Balloons | ASTM F3320-18 | US | Cardiovascular;Coating;Balloons | Benchmark for validating drug load and particulate release consistency.
ISO_21474_2 | IVD medical devices — Multiplex molecular testing for nucleic acids — Part 2: Validation | ISO 21474-2:2022 | Global | IVD Production;Molecular Testing | Requirements for simultaneous detection of multiple nucleic acid targets.
ASTM_E2859 | Size Measurement of Nanoparticles Using Atomic Force Microscopy | ASTM E2859-11 | US | Metrology;Nanotechnology;Implants | Used to qualify nano-scale surface features on osseointegrated implants.