## Sheet1
standard_id | title | short_citation | region | applies_to
FDA_QMSR | Quality Management System Regulation (QMSR) | 21 CFR Part 820 | US | Generic;All categories
ISO_13485 | Medical devices — Quality management systems | ISO 13485:2016 | US | Generic;All categories
ISO_14971 | Risk management for medical devices | ISO 14971:2019 | US | Generic;All categories
21CFR_11 | Electronic records and signatures | 21 CFR Part 11 | US | Computerized systems;HPLC;LIMS;Labeling;Serialization;PLC / control system
USP_1058 | Analytical instrument qualification | USP <1058> | US | Balances;Analytical balance;HPLC;Spectrophotometer;TOC;GC;FTIR;PCR;qPCR;Clinical analyzers
USP_1251 | Analytical method validation (supplement) | USP <1251> | US | Analytical methods;Balances;HPLC;Spectrophotometer
USP_791 | pH and conductivity | USP <791> | US | pH Meter;Conductivity Analyzer
USP_643 | Total Organic Carbon (TOC) | USP <643> | US | TOC Analyzer;Water systems;WFI
USP_1231 | Water for Injection guidance | USP <1231> | US | WFI System;Pure Steam Generator
USP_621 | HPLC system suitability | USP <621> | US | HPLC System
USP_467 | Residual solvents | USP <467> | US | GC;GC/MS System
USP_854 | FTIR and spectroscopy | USP <854> | US | FTIR Spectrometer
USP_788 | Particulate matter in injections | USP <788> | US | Cleanroom monitoring;WFI;Lyophilizer outputs
ISO_14644_1 | Cleanrooms — Classification | ISO 14644-1 | US | Cleanroom HVAC;FFU;Pass-Through;Cleanroom Chambers;WICR;Aseptic areas
ISO_14644_3 | Cleanrooms — Test methods | ISO 14644-3 | US | FFU;HEPA;Cleanroom HVAC;Environmental monitoring instruments;Particle Counter
ISO_14698 | Biocontamination control | ISO 14698 | US | Microbiological Air Sampler;Environmental Monitoring;Aseptic areas
NSF_49 | Biosafety cabinet certification | NSF/ANSI 49 | US | Biosafety cabinet (BSC)
ISO_17665 | Steam sterilization | ISO 17665-1/2 | US | Autoclave;Pure Steam Generator
ISO_11138 | Biological indicators for sterilization | ISO 11138 | US | Autoclave;Sterilization PQ;BI kill studies
AAMI_ST79 | Steam sterilization guidance (healthcare) | AAMI ST79 | US | Autoclave
ISO_11135 | Ethylene oxide sterilization | ISO 11135 | US | Ethylene Oxide sterilizer
ISO_11137 | Radiation sterilization (gamma/e-beam) | ISO 11137-1/2 | US | Gamma Irradiator;E-beam sterilizer
ISO_14937 | General sterilization validation | ISO 14937 | US | VHP Generator;UV-C Sterilizer;Sterilization processes
ISO_11607_1 | Packaging for terminally sterilized devices (materials) | ISO 11607-1 | US | Pouch Sealer;Tray Sealer;Form-Fill-Seal;Packaging lines
ISO_11607_2 | Packaging for terminally sterilized devices (processes) | ISO 11607-2 | US | Pouch Sealer;Tray Sealer;Form-Fill-Seal;Packaging lines
ASTM_F88 | Seal strength test method | ASTM F88 | US | Pouch Sealer;Pouch Sealer (Impulse);Tray Sealer
ASTM_F1929 | Dye penetration test for package integrity | ASTM F1929 | US | Pouch Sealer;Packaging integrity testing
ISO_17025 | Testing and calibration laboratories | ISO/IEC 17025 | US | Metrology;CMM;Surface Profilometer;Calibration Bath
ISO_10360 | CMM performance | ISO 10360 | US | CMM
ISO_25178 | Surface texture (areal) | ISO 25178 | US | Surface Profilometer;Profilometry
ASTM_E4 | Tension testing machine methods | ASTM E4 | US | Universal Testing Machine (UTM)
ASTM_F1717 | Spinal implant test methods | ASTM F1717 | US | UTM;Implant mechanical testing
ASTM_F543 | Orthopedic screw testing | ASTM F543 | US | Torsional Yield Tester;Bone Screw Torque Station
IEC_60601 | Medical electrical equipment safety | IEC 60601 series | US | Electrical safety tester;Imaging;X-ray bench;Clinical analyzers
IEC_61010 | Safety requirements for lab equipment | IEC 61010 | US | Laboratory Incubator;HPLC;Spectrophotometer;Analytical instruments
IEC_62304 | Medical device software lifecycle | IEC 62304 | US | PLC / control system;Software-controlled equipment;Computerized systems
21CFR_1271 | HCT/P regulations | 21 CFR Part 1271 | US | Cryogenic Vial Filling;Walk-In Cold Room;Controlled Rate Freezer;HCT/P processing equipment
CLIA | Clinical Laboratory Improvement Amendments | CLIA | US | Clinical Chemistry Analyzer;Hematology Analyzer;Blood Gas Analyzer
ISO_15189 | Medical laboratories accreditation | ISO 15189 | US | Clinical Chemistry Analyzer;IVD lab equipment
ISO_20916 | NGS sequencing practices | ISO 20916 | US | DNA Sequencer
NIST_HB44 | Weights and measures guidance | NIST Handbook 44 | US | Checkweigher;Balances;Analytical balance
ISO_8573_1 | Compressed air quality classes | ISO 8573-1 | US | Compressed Air System;Process air
ISO_11608 | Needle-based delivery device standards | ISO 11608 series | US | Infusion pump;Syringe pump;Peristaltic pump
ISO_10555 | Intravascular catheter standards | ISO 10555 series | US | Balloon Forming Machine;Burst Pressure Tester
ISO_10993 | Biocompatibility testing series | ISO 10993 series | US | Implant processing equipment;Coating lines;Surface treatment
ISO_13779_2 | Hydroxyapatite coating standards | ISO 13779-2 | US | Plasma Spray System;Coating lines
ASTM_F1147 | Coating test methods (HA coatings) | ASTM F1147 | US | Plasma Spray System;Coating adhesion testing
ASTM_F2397 | Coating and lubricity test methods | ASTM F2397 | US | Hydrophilic Coating Line;Catheter Lubricity Tester
ISO_13408_1 | Aseptic processing — filling lines | ISO 13408-1 | US | Cryogenic Vial Filling Line;Aseptic fillers
ISO_15883 | Washer-disinfector requirements | ISO 15883 | US | Ultrasonic Cleaner;Washer;Parts washer
AAMI_ST98 | Washer-disinfector guidance | AAMI ST98 | US | Ultrasonic Cleaner;Washer systems
ISO_14937_VHP | VHP sterilization validation | ISO 14937 | US | VHP Generator;Isolator decontamination
ISO_14644_2 | Cleanroom monitoring and testing | ISO 14644-2 | US | Cleanroom HVAC;Environmental monitoring;Cleanroom certification
ISO_14644_7 | Cleanroom particle sampling | ISO 14644-7 | US | Particle Counter;Environmental monitoring instruments
ISO_14644_8 | Cleanroom biocontamination control | ISO 14644-8 | US | Microbiological Air Sampler;Aseptic areas
USP_621_addendum | Chromatography system suitability (addenda) | USP <621> | US | HPLC System
21CFR_830 | UDI and device identification | 21 CFR Part 830 | US | Labeling;Thermal Transfer Printer;Serialization
21CFR_864 | Hematology device classification | 21 CFR Part 864 | US | Hematology Analyzer
ASTM_F1920 | Package integrity and leak test methods | ASTM F1920 | US | Packaging integrity;Seal testing
ISO_10993_18 | Chemical characterization for biocompatibility | ISO 10993-18 | US | GC/MS System;Extractables & leachables testing
USP_643_addendum | TOC method updates | USP <643> | US | TOC Analyzer;Water systems
ISO_20391 | Particle counter calibration guidance | ISO 20391 | US | Particle Counter;Environmental monitoring
ISO_14698_2 | Biocontamination control — methods | ISO 14698-2 | US | Microbiological Air Sampler;Environmental